## RH
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Redelinghuys - Municipal office
Date
| Range | 2020-07-15 | 2020-07-28 | 2020-08-11 | 2020-08-25 | 2020-09-08 | 2020-09-23 | 2020-10-16 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-04 | 2021-03-18 | 2021-04-08 | 2021-04-23 | 2021-05-06 | 2021-05-20
pH | ≤5 - ≤9.7 | 6.52 | 6.9 | 6.77 | 6.7 | 6.64 | 8.46 | 7.5 | 7.25 | 7.62 | 6.94 | 8.3 | 7.49 | 7.5 | 7.6 | 7.95 | 7.37 | 8.31 | 7.27 | 8.53 | 8.5 | 8.28 | 8.39
Conductivity | ≤170 | 96.2 | 96.6 | 91.5 | 89.8 | 91.2 | 7.89 | 97 | 90 | 94 | 93 | 73 | - | 61 | 63 | 61 | 61 | 61.5 | 71 | 68.5 | 66 | 71 | 80
Turbidity | ≤5 | 0.64 | 0.82 | 0.33 | <0.32 | 0.36 | 0.98 | 0.43 | 0.21 | 0.23 | 0.17 | 0.17 | 0.2 | 0.58 | 0.18 | 0.22 | 0.19 | 0.24 | 0.3 | 0.36 | 0.55 | 0.23 | 0.28
Colour | ≤15 | 19 | <10 | 10 | <10 | <10 | <10 | 6 | 4 | 6 | 10 | <4 | <4 | <4 | 4 | <4 | <4 | <4 | 6 | <4 | <4 | <4 | 5
Calcium | N/A | 17.6 | 18.6 | 15.8 | 17.6 | 18 | 8.9 | 21.2 | 39.3 | 18.2 | 14.6 | 14.8 | - | 11.1 | 9.6 | 10.9 | 11 | 10.6 | 15.9 | 17.1 | 13.8 | 16 | 19.3
Chloride | ≤300 | bar: 2020-07-15 to 2021-05-20
Flouride | ≤1.5 | bar: 2020-07-15 to 2021-05-20
Dissolved solids | ≤1200 | 646 | 647 | 614 | 602 | 611 | 53 | 668 | 632 | 622 | 620 | 488 | - | 400 | 428 | 400 | 400 | 400 | 474 | 448 | 438 | 460 | 532
Iron | N/A | bar: 2020-07-15 to 2021-05-20
Magnesium | N/A | 24.1 | 21.7 | 19.1 | 20.8 | 22.4 | 0.76 | 24.2 | 20.5 | 22.2 | 19.1 | 19.4 | - | 12.7 | 10.7 | 13.5 | 11.6 | 12 | 15 | 15.6 | 14.4 | 17.9 | 17.8
Aluminium | ≤300 | <50 | <50 | <50 | <50 | <50 | 143 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Redelinghuys - WTW Final
Date
| Range | 2020-07-15 | 2020-07-28 | 2020-08-11 | 2020-08-25 | 2020-09-08 | 2020-09-23 | 2020-10-28 | 2020-11-25 | 2020-12-21 | 2021-01-21 | 2021-02-18 | 2021-03-18 | 2021-04-23 | 2021-05-20
pH | ≤5 - ≤9.7 | 6.76 | 6.41 | 6.67 | 6.34 | 6.3 | 6.26 | 7.82 | 7.22 | 7.2 | 9.33 | 7.4 | 7.3 | 8.43 | 8.57
Conductivity | ≤170 | 96.3 | 94.7 | 92.2 | 89.6 | 90.6 | 90.4 | 91 | 96 | - | 66 | 65 | 67 | 66 | 78.5
Turbidity | ≤5 | 0.92 | 0.33 | 0.49 | <0.32 | <0.32 | 0.6 | 0.27 | 0.25 | 0.31 | 0.3 | 0.2 | 0.29 | 0.64 | 0.39
Colour | ≤15 | 21 | 11 | 10 | <10 | <10 | <10 | 9 | <4 | <4 | <4 | <4 | <4 | <4 | <4
Calcium | N/A | 18.4 | 16.8 | 16.9 | 16.9 | 16.7 | 17.1 | 13.9 | 18.2 | - | - | 9.5 | 11.7 | 12.9 | 18.6
Chloride | ≤300 | 228 | 211 | 209 | 214 | 209 | 207 | 212 | - | - | - | - | - | - | -
Flouride | ≤1.5 | bar: 2020-07-15 to 2021-05-20
Dissolved solids | ≤1200 | 646 | 634 | 618 | 600 | 607 | 606 | 610 | 644 | - | 444 | 420 | 440 | 440 | 520
Iron | N/A | - | - | - | - | - | - | <20 | - | - | - | - | - | - | -
Magnesium | N/A | 23.9 | 22 | 19.8 | 20 | 22.4 | 21.6 | 19.6 | 20.1 | - | 10.4 | 12.1 | 14.8 | 14.5 | 17.3
Aluminium | ≤300 | 57.3 | <50 | <50 | <50 | <50 | <50 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## EK
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Eendekuil - Municipal Office
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26 | 2020-09-09 | 2020-09-25 | 2020-10-16 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-12 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-04 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-06 | 2021-05-20
pH | ≤5 - ≤9.7 | 8.91 | 7.43 | 8.9 | 7.53 | 9.01 | 6.95 | 9.2 | 8.44 | 9.1 | 8.84 | 9.3 | 8.9 | 9.4 | 9.59 | 8.99 | 8.75 | 8 | 7.69 | 9.79 | 8.12 | 9.09 | 8.23
Conductivity | ≤170 | 8.81 | 7.07 | 8.33 | 5.93 | 6.93 | 5.86 | 8 | 8 | 9 | 8 | 11 | - | 12 | 13 | 12 | 12 | 13 | 10.5 | 13 | 11 | 10.5 | 11
Turbidity | ≤5 | 0.43 | 0.45 | <0.32 | 0.61 | 0.46 | 0.57 | 0.88 | 0.61 | 0.65 | 0.37 | 0.4 | 0.36 | 0.38 | 0.51 | 0.38 | 0.88 | 0.76 | 1.1 | 0.95 | 0.59 | 0.47 | 0.58
Colour | ≤15 | <10 | <10 | <10 | <10 | <10 | <10 | <4 | 6 | <4 | <4 | <4 | - | <4 | 4 | <4 | <4 | <4 | <4 | 5 | 7 | <4 | <4
Calcium | N/A | 5.02 | 4.9 | 7.03 | 6.59 | 5.24 | 4.18 | 12.3 | 9.8 | 4.5 | 3.4 | 5.7 | - | - | 4.5 | 5 | 5.4 | 5 | 5 | 7.5 | 6.7 | 6.4 | 5.8
Chloride | ≤300 | bar: 2020-07-15 to 2021-05-20
Flouride | ≤1.5 | bar: 2020-07-15 to 2021-05-20
Dissolved solids | ≤1200 | 59 | 47 | 66 | 40 | 46 | 39 | 57 | 50 | 62 | 50 | 70 | - | 88 | 88 | 82 | 80 | 80 | 70 | 88 | 68 | 62 | 70
Iron | N/A | bar: 2020-07-15 to 2021-05-20
Magnesium | N/A | 1.66 | <0.5 | 1.19 | <0.5 | <0.5 | <0.5 | 4.1 | 4.1 | <1 | <1 | <1 | - | <1 | <1 | <1 | <1 | <1 | <1 | 1.2 | <1 | <1 | <1
Aluminium | ≤300 | <50 | <50 | <50 | 77.6 | <50 | <50 | 50 | <40 | <40 | <40 | 84 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Eendekuil - WTW Final
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26 | 2020-09-09 | 2020-09-25 | 2020-10-28 | 2020-11-25 | 2020-12-21 | 2021-01-21 | 2021-02-18 | 2021-03-18 | 2021-04-22 | 2021-05-20
pH | ≤5 - ≤9.7 | 9.17 | 7.19 | 8.94 | 8.31 | 8.28 | 7.04 | 8.66 | 8.62 | 9.5 | 9.58 | 8.87 | 7.66 | 8.58 | 8.5
Conductivity | ≤170 | 8.98 | 7.4 | 7.99 | 5.96 | 6.16 | 7.13 | 7 | 7 | - | 11 | 12 | 6.5 | 11 | 11
Turbidity | ≤5 | 0.96 | 0.61 | 0.39 | 0.65 | 0.73 | 0.78 | 0.93 | 1.4 | 2.5 | 0.73 | 2.4 | 1.4 | 3.2 | 0.91
Colour | ≤15 | <10 | <10 | <10 | <10 | <10 | <10 | <4 | 4 | - | <4 | <4 | <4 | <4 | <4
Calcium | N/A | 5.25 | 5.15 | 7.04 | 6.55 | 4.48 | 4.14 | 3.2 | 3.5 | - | 3.2 | 5 | 4 | 7.3 | 5.1
Chloride | ≤300 | 14.4 | 12.7 | 15.4 | 11.4 | 11.7 | 14.1 | 10.3 | - | - | - | - | - | - | -
Flouride | ≤1.5 | - | - | - | - | - | - | - | - | <0.5 | - | - | - | - | -
Dissolved solids | ≤1200 | 60 | 60 | 64 | 40 | 41 | 48 | 48 | 48 | - | 70 | 82 | 40 | 70 | 72
Iron | N/A | bar: 2020-07-15 to 2021-05-20
Magnesium | N/A | 1.68 | <0.5 | 1.18 | <0.5 | <0.5 | <0.5 | <1 | <1 | - | <1 | <1 | <1 | <1 | <1
Aluminium | ≤300 | <50 | <50 | <50 | <50 | <50 | <50 | <40 | 78 | 43 | <40 | 53 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detec ted | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## PB
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Piketberg - Community Centre
Date
| Range | 2020-07-29 | 2020-09-09 | 2020-10-15 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-04 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-06 | 2021-05-20
pH | ≤5 - ≤9.7 | 8.21 | 9.07 | 8.04 | 7.8 | 8 | 7.76 | 8.31 | 8.42 | 7.96 | 7.8 | 7.88 | 8 | 7.79 | 7.41 | 8.94 | 8.1 | 8.34 | 8.23
Conductivity | ≤170 | 68.1 | 61.8 | 28 | 31 | 34 | 24 | 22 | - | 33 | 31 | 27 | 25 | 24 | 22.5 | 21 | 24.5 | 26 | 30
Turbidity | ≤5 | 3.39 | 0.37 | 0.69 | 0.44 | 0.33 | 0.7 | 1.2 | 1.3 | 0.63 | 0.25 | 0.65 | 2.7 | 0.25 | 0.3 | 0.22 | 0.27 | 0.4 | 0.35
Colour | ≤15 | <10 | <10 | <4 | <4 | <4 | <4 | <4 | - | <4 | <4 | 13 | <4 | <4 | <4 | <4 | <4 | <4 | <4
Calcium | N/A | 23.7 | 22.8 | 11.8 | 10.8 | 11.1 | 6.7 | 8.7 | - | 8.9 | 7 | 8.4 | 7.6 | 5.1 | 9.1 | 8.94 | 8.5 | 8.7 | 8.6
Chloride | ≤300 | bar: 2020-07-29 to 2021-05-20
Flouride | ≤1.5 | bar: 2020-07-29 to 2021-05-20
Dissolved solids | ≤1200 | 389 | 414 | 192 | 208 | 220 | 162 | 142 | - | 220 | 200 | 184 | 162 | 154 | 148 | 140 | 158 | 174 | 200
Iron | N/A | bar: 2020-07-29 to 2021-05-20
Magnesium | N/A | 8.82 | 13.5 | 5.4 | 7 | 7.7 | 3.9 | 5.2 | - | 5.6 | 4.6 | 5.7 | 1.7 | 4.4 | 4.2 | 5.5 | 5.2 | 6.2 | 5.6
Aluminium | ≤300 | 114 | <50 | 115 | 44 | <40 | <40 | 81 | 58 | <40 | <40 | <40 | 65 | <40 | <40 | <40 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - WTW Final
Date
| Range | 2020-07-16 | 2020-07-29 | 2020-08-12 | 2020-08-26 | 2020-09-09 | 2020-09-25 | 2020-10-28 | 2020-11-25 | 2020-12-21 | 2021-01-21 | 2021-02-18 | 2021-03-18 | 2021-04-22 | 2021-05-20
pH | ≤5 - ≤9.7 | 4.53 | 6.17 | 6.86 | 6.5 | 4.63 | 6.57 | 7.81 | 7.12 | 7.63 | 7.38 | 7.48 | 7.43 | 7.86 | 7.74
Conductivity | ≤170 | 66.8 | 69.4 | 131 | 41.3 | 33.3 | 43.3 | 31 | 30 | - | 31 | 25 | 22.5 | 24.5 | 27.5
Turbidity | ≤1 | 3.34 | 3.38 | 0.88 | <0.32 | 5.38 | 0.6 | 9.8 | 7 | 9.8 | 2 | 9.3 | 0.32 | 6 | 0.29
Colour | ≤15 | <10 | <10 | <10 | 12 | <10 | <10 | <4 | 6 | - | <4 | 6 | <4 | <4 | <4
Calcium | N/A | 13.1 | 17.8 | 22 | 9.79 | 9.74 | 10.1 | 8 | 7.4 | - | 7.3 | 6.2 | 8.7 | 7.1 | 6.4
Chloride | ≤300 | 138 | 154 | 311 | 100 | 66.9 | 98 | 59.7 | - | - | - | - | - | - | -
Flouride | ≤1.5 | bar: 2020-07-16 to 2021-05-20
Dissolved solids | ≤1200 | 441 | 466 | 875 | 277 | 223 | 290 | 200 | 202 | - | 208 | 164 | 146 | 162 | 190
Iron | N/A | bar: 2020-07-16 to 2021-05-20
Magnesium | N/A | 13.3 | 15.2 | 26.4 | 9.66 | 7.25 | 9.01 | 5.9 | 5.4 | - | 4.4 | 5.2 | 4.1 | 3.9 | 5.2
Aluminium | ≤300 | 1550 | <50 | <50 | <50 | <50 | <50 | 147 | 86 | 489 | 51 | 41 | <40 | 373 | 66
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - Elektriesstoor
Date
| Range | 2020-07-16 | 2020-07-29 | 2020-08-12 | 2020-09-09 | 2020-09-25 | 2020-10-15 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-06 | 2021-05-20
pH | ≤5 - ≤9.7 | 6.75 | 6.61 | 7.41 | 6.56 | 7.1 | 7.85 | 7.8 | 7.83 | 7.76 | 7.99 | 7.9 | 7.68 | 7.77 | 7.64 | 7.8 | 7.42 | 8.62 | 8.07 | 6.6 | 8.19
Conductivity | ≤170 | 48.9 | 66.1 | 101 | 34.4 | 44.8 | 29 | 32 | 35 | 28 | 24 | - | 33 | 30 | 28 | 26 | 23.5 | 21 | 24.5 | 26.5 | 29.5
Turbidity | ≤5 | 1.68 | 2.67 | 0.91 | 9.23 | 0.75 | 0.68 | 0.36 | 1 | 0.46 | 1.7 | 1.1 | 0.57 | 0.29 | 0.38 | 1 | 0.52 | 0.89 | 0.42 | 10.7 | 0.57
Colour | ≤15 | <10 | <10 | <10 | <10 | <10 | <4 | <4 | 11 | 12 | <4 | - | 4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4
Calcium | N/A | 16.4 | 21.2 | 21.5 | 17.4 | 13 | 15.6 | 15.2 | 17 | 10.1 | 11.5 | - | 10.6 | 8 | 11.2 | 8.5 | 9.6 | 6.5 | 7.8 | 8.2 | 10.1
Chloride | ≤300 | bar: 2020-07-16 to 2021-05-20
Flouride | ≤1.5 | bar: 2020-07-16 to 2021-05-20
Dissolved solids | ≤1200 | 328 | 443 | 676 | 230 | 300 | 199 | 210 | 224 | 180 | 156 | - | 222 | 196 | 186 | 166 | 152 | 138 | 156 | 170 | 196
Iron | N/A | bar: 2020-07-16 to 2021-05-20
Magnesium | N/A | 9.91 | 13.8 | 19.4 | 7.43 | 9.04 | 5 | 5.4 | 6.6 | 4.6 | 5 | - | 5.4 | 4.3 | 5.5 | 5.3 | 4 | 5.5 | 5.3 | 6.3 | 5.4
Aluminium | ≤300 | <50 | <50 | <50 | <50 | <50 | 171 | 46 | 48 | <40 | 104 | 70 | <40 | <40 | 46 | 67 | <40 | <40 | <40 | 633 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - Municipal offices
Date
| Range | 2020-07-16 | 2020-07-29 | 2020-08-12 | 2020-08-26 | 2020-09-09 | 2020-09-25 | 2020-10-15 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-04 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-06 | 2021-05-20
pH | ≤5 - ≤9.7 | 6.39 | 6.68 | 7.4 | 6.79 | 6.59 | 7.33 | 7.75 | 7.42 | 7.7 | 7.58 | 8.5 | 7.82 | 7.6 | 7.65 | 7.51 | 7.78 | 7.88 | 7.4 | 8.32 | 8.03 | 6.68 | 8.09
Conductivity | ≤170 | 66.7 | 66.9 | 102 | 42.2 | 33.1 | 42.9 | 29 | 32 | 35 | 28 | 24 | - | 32.5 | 30 | 27 | 25.5 | 24 | 23.5 | 21 | 24 | 26 | 28.5
Turbidity | ≤5 | 3.44 | 3.14 | 0.92 | 2.6 | 5.51 | 0.85 | 0.92 | 0.31 | 0.4 | 0.56 | 1.4 | - | 0.49 | 0.28 | 0.18 | 0.29 | 0.12 | 1.4 | 0.28 | 0.4 | 3.3 | 0.45
Colour | ≤15 | <10 | <10 | <10 | <10 | <10 | <10 | <4 | 5 | 20 | 5 | <4 | - | <4 | <4 | <4 | <4 | <4 | <4 | <4 | 5 | <4 | 4
Calcium | N/A | 16.9 | 21.1 | 21.2 | 38.2 | 16.5 | 16.9 | 15 | 12.2 | 13.7 | 10.3 | 11.7 | - | 12.3 | 7.8 | 10.4 | 6.8 | 5.6 | 9.4 | 6.6 | 7.5 | 8.1 | 9.6
Chloride | ≤300 | bar: 2020-07-16 to 2021-05-20
Flouride | ≤1.5 | bar: 2020-07-16 to 2021-05-20
Dissolved solids | ≤1200 | 373 | 442 | 685 | 283 | 222 | 287 | 199 | 210 | 224 | 182 | 146 | - | 218 | 198 | 182 | 164 | 156 | 150 | 142 | 158 | 168 | 194
Iron | N/A | bar: 2020-07-16 to 2021-05-20
Magnesium | N/A | 11.5 | 13.8 | 19.5 | 20.1 | 7 | 8.49 | 5.5 | 6.3 | 7.1 | 4.5 | 5.2 | - | 5.3 | 4.3 | 5.4 | 1.6 | 4 | 4.1 | 5.7 | 5.3 | 6.4 | 5.4
Aluminium | ≤300 | <50 | <50 | <50 | <50 | <50 | <50 | 202 | <40 | <40 | <40 | 97 | 91 | <40 | <40 | <40 | <40 | <40 | 94 | <40 | <40 | 237 | 42
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## AU
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Aurora - Municipal office
Date
| Range | 2020-07-14 | 2020-07-28 | 2020-08-11 | 2020-08-25 | 2020-09-08 | 2020-09-23 | 2020-10-15 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-04 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-06 | 2021-05-20
pH | ≤5 - ≤9.7 | 6.84 | 6.89 | 6.89 | 6.44 | 6.63 | 6.7 | 6.75 | 7 | 7.4 | 6.36 | 6.99 | 6.73 | 7.15 | 7.7 | 7.04 | 8 | 6.48 | 7.24 | 9.06 | 7.43 | 8.34 | 6.76
Conductivity | ≤170 | 142 | 150 | 163 | 148 | 146 | 149 | 150 | 146 | 142 | 130 | 145 | - | 146 | 148 | 149 | 145 | 121 | 142 | 150 | 147 | 142 | 144
Turbidity | ≤5 | 5.57 | 0.58 | 1.97 | 1.37 | 2.23 | 0.63 | 0.42 | 0.27 | 0.27 | 0.36 | 0.18 | 0.46 | 0.26 | 1.4 | 0.72 | 0.62 | 0.58 | 1.1 | 0.21 | 0.58 | 0.21 | 0.28
Colour | ≤15 | <10 | <10 | <10 | <10 | <10 | <10 | <4 | 5 | 4 | <4 | 6 | - | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4
Calcium | N/A | 17.3 | 17.8 | 17.2 | 17.6 | 20.8 | 22.1 | 24.9 | 19.7 | 20.1 | 16.9 | 22 | - | 17.3 | 14.7 | 18.2 | 19.5 | 16.2 | 20.4 | 19.9 | 19.6 | 21 | 20
Chloride | ≤300 | bar: 2020-07-14 to 2021-05-20
Flouride | ≤1.5 | bar: 2020-07-14 to 2021-05-20
Dissolved solids | ≤1200 | 953 | 1002 | 1089 | 992 | 980 | 996 | 1024 | 968 | 932 | 866 | 968 | - | 960 | 988 | 976 | 968 | 800 | 958 | 990 | 978 | 932 | 958
Iron | N/A | bar: 2020-07-14 to 2021-05-20
Magnesium | N/A | 35.6 | 37.9 | 36.9 | 35.1 | 37.9 | 37.5 | 42.2 | 35.5 | 37.6 | 30.9 | 40.9 | - | 33.7 | 28.8 | 39.9 | 41.3 | 33.1 | 37.4 | 38.2 | 42.4 | 39 | 38.2
Aluminium | ≤300 | 64.3 | <50 | <50 | <50 | <50 | <50 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Aurora - WTW Final
Date
| Range | 2020-07-14 | 2020-07-28 | 2020-08-11 | 2020-08-25 | 2020-09-08 | 2020-09-23 | 2020-10-28 | 2020-11-25 | 2020-12-21 | 2021-01-21 | 2021-02-18 | 2021-03-18 | 2021-04-22 | 2021-05-20
pH | ≤5 - ≤9.7 | 6.36 | 6.41 | 6.44 | 6.25 | 6.31 | 6.23 | 6.16 | 6.34 | 6.4 | 7.17 | 7.5 | 7.25 | 6.86 | 6.68
Conductivity | ≤170 | 141 | 147 | 162 | 147 | 150 | 144 | 145 | 131 | - | 115 | 143 | 143 | 142 | 145
Turbidity | ≤5 | 7.77 | 1.66 | 1.5 | 2.34 | 1005 | 1.83 | 0.19 | 0.25 | 0.81 | 0.32 | 0.23 | 0.34 | 0.29 | 1.1
Colour | ≤15 | <10 | <10 | <10 | <10 | <10 | <10 | 14 | <4 | - | <4 | <4 | <4 | <4 | <4
Calcium | N/A | 15.9 | 14.6 | 15.4 | 16.9 | 19.7 | 20.3 | 15.6 | 16 | - | 11.6 | 15.2 | 15.9 | 16.7 | 16.3
Chloride | ≤300 | bar: 2020-07-14 to 2021-05-20
Flouride | ≤1.5 | - | - | - | - | - | - | - | - | 0.65 | - | - | - | - | -
Dissolved solids | ≤1200 | 941 | 984 | 1084 | 985 | 1005 | 967 | 966 | 870 | - | 780 | 960 | 960 | 940 | 962
Iron | N/A | bar: 2020-07-14 to 2021-05-20
Magnesium | N/A | 36.1 | 36.1 | 35.9 | 35.1 | 40.7 | 36.6 | 35.4 | 36.4 | - | 29.4 | 40.5 | 37.9 | 41 | 39.7
Aluminium | ≤300 | 61.9 | <50 | <50 | <50 | <50 | <50 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## VD
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Velddrif - Civic centre
Date
| Range | 2020-07-28 | 2020-08-25 | 2020-09-23 | 2020-10-15 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-04 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-06 | 2021-05-20
pH | ≤5 - ≤9.7 | 7.53 | 7.67 | 7.72 | 8.3 | 7.84 | 8 | 7.37 | 8.21 | 8.1 | 8.16 | 8.4 | 7.81 | 7.51 | 8.32 | 7.41 | 8.33 | 8.31 | 8.21 | 8.15
Conductivity | ≤170 | 55.2 | 145 | 53.3 | 47 | 33 | 35.5 | 30 | 27 | - | 31 | 32 | 32 | 29 | 26 | 26 | 22 | 24.5 | 26 | 33
Turbidity | ≤5 | 0.35 | 0.43 | 0.47 | 0.48 | 0.2 | 0.22 | 0.17 | 0.17 | 0.57 | 0.36 | 0.3 | 0.23 | 0.2 | 0.27 | 0.78 | 0.39 | 0.36 | 0.45 | 0.3
Colour | ≤15 | <10 | <10 | <10 | 6 | <4 | <4 | 8 | <4 | - | <4 | <4 | <4 | <4 | <4 | <4 | <4 | 4 | 6 | <4
Calcium | N/A | 19.4 | 52.2 | 17.4 | 19 | 12.9 | 16.5 | 12.3 | 14.4 | - | 13.4 | 11.8 | 13.8 | 12.5 | 11.1 | 13.8 | 11.8 | 12.6 | 14.3 | 16.1
Chloride | ≤300 | bar: 2020-07-28 to 2021-05-20
Flouride | ≤1.5 | - | - | - | - | - | - | - | - | <0.5 | - | - | - | - | - | - | - | - | - | -
Dissolved solids | ≤1200 | 370 | 970 | 357 | 313 | 222 | 232 | 200 | 180 | - | 202 | 210 | 202 | 200 | 178 | 178 | 146 | 160 | 170 | 222
Iron | N/A | bar: 2020-07-28 to 2021-05-20
Magnesium | N/A | 9.9 | 40 | 10.4 | 8.9 | 5.6 | 6.7 | 4.9 | 5.8 | - | 4.8 | 4 | 5.7 | 5.3 | 3.8 | 4.5 | 5 | 4.5 | 5.7 | 5
Aluminium | ≤300 | <50 | <50 | <50 | 108 | 61 | 57 | 44 | <40 | 50 | 93 | 69 | 60 | 69 | 81 | 64 | 48 | 4.5 | 64 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Velddrif - Municipal Office
Date
| Range | 2020-07-14 | 2020-07-28 | 2020-08-11 | 2020-08-25 | 2020-09-08 | 2020-09-23 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-04 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-06 | 2021-05-20
pH | ≤5 - ≤9.7 | 9 | 8.34 | 8.34 | 8.05 | 8.06 | 8 | 8.4 | 8.62 | 8.34 | 8.7 | 8.57 | 8.4 | 8.2 | 8 | 8.59 | 8.39 | 7.45 | 8.51 | 8.25 | 8.41 | 7.92
Conductivity | ≤170 | 30.4 | 55.3 | 78.2 | 151 | 86.4 | 56.4 | 35 | 36 | 31 | 28 | - | 32 | 33 | 31 | 29 | 27 | 26.5 | 21.5 | 24 | 26 | 32.5
Turbidity | ≤5 | <0.32 | 0.32 | 0.48 | 0.51 | 0.57 | 0.66 | 0.21 | 0.17 | 0.18 | 0.17 | 0.18 | 0.25 | 0.22 | 0.26 | 0.27 | 0.25 | 0.21 | 0.36 | 0.26 | 0.25 | <0.08
Colour | ≤15 | <10 | <10 | <10 | <10 | <10 | <10 | <4 | 5 | 4 | <4 | - | <4 | <4 | <4 | <4 | <4 | <4 | 5 | 5 | <4 | 5
Calcium | N/A | 13.4 | 21.3 | 21.8 | 52.5 | 27.2 | 18.3 | 13.7 | 16.6 | 13.7 | 15.8 | - | 15 | 12.3 | 14.3 | 13.9 | 11.6 | 14.5 | 11.9 | 13 | 15 | 17.4
Chloride | ≤300 | bar: 2020-07-14 to 2021-05-20
Flouride | ≤1.5 | - | - | - | - | - | - | - | - | - | - | <0.5 | - | - | - | - | - | - | - | - | - | -
Dissolved solids | ≤1200 | 204 | 371 | 524 | 1011 | 579 | 378 | 230 | 242 | 204 | 182 | - | 210 | 218 | 200 | 198 | 180 | 180 | 144 | 158 | 172 | 218
Iron | N/A | bar: 2020-07-14 to 2021-05-20
Magnesium | N/A | 5.87 | 9.62 | 14.4 | 40.7 | 18.9 | 10.9 | 5.7 | 6.6 | 4.8 | 5.4 | - | 4.9 | 4 | 5.9 | 5 | 4.1 | 4.6 | 5 | 2.5 | 5.4 | 5.2
Aluminium | ≤300 | 73.1 | <50 | <50 | <50 | <50 | <50 | <40 | 42 | 58 | <40 | 72 | 68 | 57 | 51 | 75 | 54 | 42 | 48 | 2.5 | 64 | 42
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Velddrif - WTW Final/Reservoir
Date
| Range | 2020-07-14 | 2020-07-28 | 2020-08-11 | 2020-08-25 | 2020-09-08 | 2020-09-23 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-20
pH | ≤5 - ≤9.7 | 8 | 7.49 | 7.5 | 7.75 | 7.69 | 7.4 | 7.79 | 8.01 | 8.5 | 8.3 | 8.38 | 8 | 7.91 | 8.24 | 7.5 | 8.21 | 8.29 | 7.88
Conductivity | ≤170 | 31.7 | 63.7 | 101 | 144 | 81.1 | 49.1 | 34 | 36 | 30 | 27 | - | 33 | 30.5 | 27 | 24.5 | 22 | 24.5 | 33.5
Turbidity | ≤5 | 0.46 | 0.61 | 0.33 | 1.25 | 0.76 | 0.45 | 0.73 | 0.42 | 0.21 | 0.21 | 0.16 | 0.31 | 0.31 | 0.3 | 0.45 | 0.4 | 0.24 | 0.44
Colour | ≤15 | <10 | <10 | <10 | <10 | <10 | <10 | <4 | <4 | <4 | <4 | - | <4 | <4 | <4 | <4 | <4 | <4 | 5
Calcium | N/A | 12.6 | 20.6 | 22.1 | 48.6 | 24.3 | 16.3 | 13.4 | 16.1 | 13.5 | 15.1 | - | 11.3 | 14.4 | 11.5 | 13.1 | 11.8 | 13.5 | 17.9
Chloride | ≤300 | bar: 2020-07-14 to 2021-05-20
Flouride | ≤1.5 | - | - | - | - | - | - | - | - | - | - | <0.5 | - | - | - | - | - | - | -
Dissolved solids | ≤1200 | 212 | 427 | 679 | 965 | 543 | 329 | 228 | 240 | 202 | 180 | - | 216 | 196 | 182 | 172 | 148 | 158 | 220
Iron | N/A | <20 | <20 | <20 | 29.8 | <20 | <20 | 20 | - | - | - | - | - | - | - | - | - | - | -
Magnesium | N/A | 6.1 | 11.7 | 18.4 | 39 | 17.2 | 9.78 | 5.6 | 6.6 | 4.8 | 5.3 | - | 4.1 | 5.7 | 5 | 4.1 | 5.2 | 2.8 | 5.2
Aluminium | ≤300 | 77.7 | <50 | <50 | <50 | <50 | <50 | 81 | 68 | 58 | <40 | 79 | 64 | 56 | 73 | 40 | 48 | 2.8 | 48
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## PV
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Porterville - Municipal office
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26 | 2020-09-09 | 2020-09-25 | 2020-10-16 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-04 | 2021-03-18 | 2021-04-08 | 2021-05-06 | 2021-05-20
pH | ≤5 - ≤9.7 | 9.47 | 9.4 | 9.54 | 9.28 | 9.57 | 9.09 | 9.76 | 8.4 | 7.7 | 8.97 | 9.3 | 8 | 8.64 | 8.67 | 8.59 | 9.4 | 9.41 | 7.62 | 8.79 | 9.83 | 10.07
Conductivity | ≤170 | 10.3 | 9.57 | 10.2 | 8.49 | 10.4 | 9.48 | 10 | 8 | 8 | 10 | 9 | - | 8 | 8 | 9 | 10.5 | 11 | 9 | 8.5 | 11.5 | 13
Turbidity | ≤5 | <0.32 | 0.51 | 0.54 | 0.5 | 0.81 | 0.97 | 0.48 | 0.6 | 0.53 | 0.47 | 0.45 | 1.2 | 0.81 | 0.38 | 1.5 | 0.6 | 0.62 | 0.61 | 0.65 | 0.69 | 0.72
Colour | ≤15 | - | - | - | - | - | - | 6 | 6 | 10 | 7 | 11 | - | <4 | 5 | <4 | <4 | <4 | <4 | <4 | 5 | 6
Calcium | N/A | 8.91 | 9.94 | 10.2 | 8.65 | 10.9 | 9.94 | 11.7 | 6.5 | 6.1 | 8.1 | 9.9 | - | 6.3 | 5.1 | 8.2 | 8.9 | 9.8 | 7.4 | 8.1 | 14.6 | 13.8
Chloride | ≤300 | bar: 2020-07-15 to 2021-05-20
Flouride | ≤1.5 | - | - | - | - | - | - | - | - | - | - | - | <0.5 | - | - | - | - | - | - | - | - | -
Dissolved solids | ≤1200 | - | - | - | - | - | - | 71 | 54 | 52 | 70 | 60 | - | 52 | 54 | 62 | 68 | 70 | 62 | 50 | 72 | 82
Iron | N/A | bar: 2020-07-15 to 2021-05-20
Magnesium | N/A | 2.02 | 0.95 | 1.65 | 0.85 | 0.95 | 0.98 | <1 | <1 | <1 | <1 | <1 | - | <1 | <1 | <1 | <1 | <1 | <1 | 1.7 | 1.3 | <1
Aluminium | ≤300 | <50 | <50 | <50 | <50 | <50 | 68 | 84 | <40 | <40 | 79 | <1 | <40 | 47 | 40 | 49 | 62 | 53 | <40 | <40 | 50 | 65
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - Library
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26 | 2020-09-09 | 2020-09-25 | 2020-10-16 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-04 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-05 | 2021-05-20
pH | ≤5 - ≤9.7 | 9.36 | 9.42 | 9.67 | 9.47 | 9.21 | 9.52 | 9 | 9.52 | 7.88 | 7.5 | 8.6 | 8.45 | 7.88 | 8.88 | 9.1 | 9.1 | 8.35 | 7.56 | 8.68 | 8.9 | 9.06 | 9.87
Conductivity | ≤170 | 10.9 | 9.94 | 10.9 | 9.19 | 8.8 | 10.3 | 9 | 10 | 8 | 9 | 8 | - | 8 | 9 | 10 | 11 | 9.5 | 9.5 | 9 | 10 | 10 | 13
Turbidity | ≤5 | 0.37 | 0.53 | 0.47 | 0.41 | 0.58 | 0.77 | 0.73 | 0.45 | 0.73 | 0.49 | 0.53 | 1.1 | 0.78 | 0.91 | 0.59 | 2.8 | 0.36 | 0.66 | 0.83 | 0.74 | 0.59 | 0.79
Colour | ≤15 | - | - | - | - | - | - | <4 | 4 | <4 | <4 | <4 | - | 14 | 5 | <4 | <4 | <4 | <4 | <4 | 7 | <4 | 7
Calcium | N/A | 10 | 10.6 | 10.9 | 9.01 | 8.12 | 11.3 | 9.8 | 9.6 | 6.4 | 6.3 | 7.3 | - | 5.6 | 5.5 | 9.3 | 9.9 | 7.5 | 7.3 | 9.2 | 10.5 | 11.1 | 13.7
Chloride | ≤300 | bar: 2020-07-15 to 2021-05-20
Flouride | ≤1.5 | - | - | - | - | - | - | - | - | - | - | - | <0.5 | - | - | - | - | - | - | - | - | - | -
Dissolved solids | ≤1200 | - | - | - | - | - | - | 64 | 70 | 50 | 62 | 50 | - | 50 | 62 | 70 | 70 | 60 | 68 | 62 | 70 | 70 | 84
Iron | N/A | bar: 2020-07-15 to 2021-05-20
Magnesium | N/A | 1.77 | 1 | 1.66 | 0.84 | 1 | 1.02 | <1 | <1 | <1 | <1 | <1 | - | <1 | <1 | <1 | <1 | <1 | <1 | 1.7 | <1 | 1.2 | <1
Aluminium | ≤300 | <50 | <50 | <50 | <50 | <50 | 54.3 | 65 | 77 | <40 | <40 | 60 | 59 | 50 | 52 | 46 | 84 | <40 | <40 | <40 | 63 | <40 | 62
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - WWTW Tap
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26 | 2020-09-09 | 2020-09-25 | 2020-10-16 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-07 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-04 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-05 | 2021-05-20
pH | ≤5 - ≤9.7 | 8.79 | 9.25 | 9.76 | 9.16 | 9.63 | 9.41 | 9.15 | 9.25 | 7.38 | 8.73 | 9.16 | 8.45 | 8.95 | 8.99 | 8.72 | 9.43 | 9.34 | 7.59 | 9.24 | 9.5 | 9.45 | 10.02
Conductivity | ≤170 | 8.84 | 9.66 | 10.8 | 8.13 | 10.7 | 10.3 | 9 | 9 | 7.5 | 8 | 9 | - | 8 | 8.5 | 11 | 10 | 9.5 | 9 | 9 | 10.5 | 10 | 13
Turbidity | ≤5 | 0.98 | 0.66 | 0.71 | 0.39 | 0.49 | 0.66 | 0.46 | 0.66 | 0.72 | 0.55 | 0.25 | 0.44 | 0.43 | 0.36 | 0.91 | 0.4 | 0.36 | 0.58 | 0.46 | 0.53 | 0.58 | 0.65
Colour | ≤15 | - | - | - | - | - | - | 4 | 7 | 10 | <4 | <4 | - | 12 | 4 | <4 | <4 | <4 | <4 | <4 | <4 | 8 | 6
Calcium | N/A | 6.63 | 9.99 | 11 | 9.25 | 10.3 | 10.6 | 7.8 | 9.3 | 5.3 | 5.7 | 9.3 | - | 6.5 | 5.3 | 9.3 | 9.7 | 7.4 | 6.9 | 8.3 | 10.9 | 11.8 | 13.5
Chloride | ≤300 | bar: 2020-07-15 to 2021-05-20
Flouride | ≤1.5 | - | - | - | - | - | - | - | - | - | - | - | <0.5 | - | - | - | - | - | - | - | - | - | -
Dissolved solids | ≤1200 | - | - | - | - | - | - | 57 | 58 | 50 | 50 | 58 | - | 52 | 56 | 74 | 70 | 64 | 60 | 60 | 70 | 70 | 82
Iron | N/A | bar: 2020-07-15 to 2021-05-20
Magnesium | N/A | 2.09 | 1.12 | 1.67 | 1.09 | 1 | 0.99 | <1 | <1 | <1 | <1 | <1 | - | <1 | <1 | <1 | <1 | <1 | <1 | 1.6 | <1 | 1.1 | <1
Aluminium | ≤300 | 62.3 | <50 | <50 | <50 | <50 | 62.6 | 57 | 70 | <40 | <40 | 129 | 46 | 68 | 42 | 46 | 56 | <40 | <40 | <40 | 58 | <40 | 56
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
.
Area Tested | Porterville - WTW Final
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26 | 2020-09-09 | 2020-09-25 | 2020-10-28 | 2020-11-25 | 2020-12-21 | 2021-01-21 | 2021-02-18 | 2021-03-18 | 2021-04-22 | 2021-05-20
pH | ≤5 - ≤9.7 | 6.83 | 9.2 | 9.16 | 8.55 | 9.34 | 9 | 9.52 | 9.21 | 7.5 | 8.54 | 9.11 | 7.62 | 9.43 | 9.87
Conductivity | ≤170 | 7.79 | 9.1 | 9.22 | 7.39 | 9.47 | 8.8 | 10 | 9 | - | 8 | 9 | 8.5 | 9.5 | 12
Turbidity | ≤5 | 1.33 | 0.78 | 0.64 | 0.8 | 0.62 | 1 | 0.96 | 0.78 | 0.64 | 0.64 | 0.84 | 0.66 | 0.58 | 1.3
Colour | ≤15 | <10 | <10 | <10 | <10 | <10 | <10 | <4 | 5 | - | <4 | <4 | <4 | <4 | 5
Calcium | N/A | 4.82 | 8.99 | 9.21 | 7.51 | 9.03 | 8.61 | 10.4 | 7.8 | - | 3.6 | 6.6 | 6.5 | 8.9 | 11.4
Chloride | ≤300 | bar: 2020-07-15 to 2021-05-20
Flouride | ≤1.5 | - | - | - | - | - | - | - | - | <0.5 | - | - | - | - | -
Dissolved solids | ≤1200 | 52 | 61 | 62 | 50 | 63 | 69 | 70 | 62 | - | 52 | 62 | 60 | 62 | 80
Iron | N/A | bar: 2020-07-15 to 2021-05-20
Magnesium | N/A | 2.19 | 1.1 | 1.74 | 0.94 | 0.99 | 1.11 | <1 | <1 | - | <1 | <1 | <1 | <1 | <1
Aluminium | ≤300 | 64.8 | <50 | <50 | <50 | <50 | 86.4 | 49 | 44 | <40 | <40 | 56 | <40 | 59 | 67
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## DKB
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Dwarskersbos - Reservoir
Date
| Range | 2020-07-14 | 2020-07-28 | 2020-08-11 | 2020-08-25 | 2020-09-08 | 2020-09-23 | 2020-10-28 | 2020-11-12 | 2020-11-25 | 2020-12-10 | 2020-12-21 | 2021-01-21 | 2021-02-04 | 2021-02-18 | 2021-03-18 | 2021-04-08 | 2021-04-22 | 2021-05-20
pH | ≤5 - ≤9.7 | 8.81 | 8.06 | 7.78 | 7.94 | 7.89 | 7.7 | 8.48 | 8.2 | 7.6 | 8.1 | 7.69 | 7.75 | 7.6 | 8.3 | 7.47 | 8.9 | 7.47 | 6.87
Conductivity | ≤170 | 31 | 47.8 | 90.2 | 146 | 92.8 | 54.3 | 34 | 35 | 31 | 23 | - | 35 | 31 | 29 | 26.5 | 23 | 23.5 | 33.5
Turbidity | ≤5 | <0.32 | <0.32 | 0.86 | <0.32 | <0.32 | <0.32 | 0.29 | 0.22 | 0.16 | 0.37 | 0.45 | 0.29 | 0.18 | 0.19 | 0.22 | 0.4 | 2.7 | 0.34
Colour | ≤15 | <10 | <10 | <10 | <10 | <10 | <10 | <4 | 9 | <4 | <4 | - | <4 | <4 | <4 | <4 | <4 | <4 | 5
Calcium | N/A | 13.1 | 19.7 | 20.6 | 31.4 | 28.1 | 17.7 | 14.2 | 16.6 | 13.9 | 13.7 | - | 12.6 | 15.1 | 13 | 14.5 | 13.8 | 13.3 | 16.1
Chloride | ≤300 | bar: 2020-07-14 to 2021-05-20
Flouride | ≤1.5 | - | - | - | - | - | - | - | - | - | - | <0.5 | - | - | - | - | - | - | -
Dissolved solids | ≤1200 | 208 | 320 | 604 | 978 | 622 | 364 | 220 | 232 | 200 | 150 | - | 230 | 200 | 192 | 178 | 150 | 154 | 220
Iron | N/A | bar: 2020-07-14 to 2021-05-20
Magnesium | N/A | 5.72 | 8.01 | 15.1 | 28.3 | 20.3 | 10.4 | 5.2 | 6.3 | 5.1 | 4.3 | - | 4.3 | 5.5 | 1.5 | 4 | 5.2 | 2.6 | 5
Aluminium | ≤300 | 85.6 | <50 | <50 | <50 | <50 | <50 | 73 | 68 | 61 | <40 | 88 | 63 | 66 | 80 | 45 | 48 | 2.6 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected