## AU
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Aurora - Municipal office
Date
| Range | 2025-07-11 | 2025-08-01 | 2025-08-12 | 2025-08-26 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-12-09 | 2025-12-29 | 2026-01-07 | 2026-01-19 | 2026-02-05 | 2026-02-24
pH | ≤5 - ≤9.7 | 7.03 | 6.73 | 6.94 | 6.76 | 7.02 | 7.43 | 7.18 | 7.42 | 6.57 | 7.03 | 7.35 | 6.97 | 6.72 | 7.18
Conductivity | ≤170 | 144 | 142 | 145 | 155 | 142 | 147 | 143 | 144 | 142 | 141 | 146 | 145 | 144 | 146
Turbidity | ≤5 | <0,30 | 0.41 | <0,30 | <0,30 | 0.31 | 0.53 | <0,30 | <0,30 | 7.77 | <0,30 | <0,30 | <0,30 | 1.95 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 92.9 | 19.2 | 19.5 | 21 | 21.3 | 29.6 | 22.4 | 23.8 | 21 | 76.6 | 29.9 | 22.7 | 18.4 | 29.7
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-24
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-24
Dissolved solids | ≤1200 | 965 | 949 | 972 | 1036 | 949 | 983 | 955 | 967 | 951 | 946 | 981 | 972 | 967 | 980
Iron | N/A | bar: 2025-07-11 to 2026-02-24
Magnesium | N/A | 40 | 40.2 | 41.5 | 24.8 | 44.9 | 32.3 | 42.5 | 42.9 | 48.8 | 114 | 45.6 | 43.9 | 42.2 | 49.6
Aluminium | ≤300 | bar: 2025-07-11 to 2026-02-24
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Aurora - WTW Final
Date
| Range | 2025-07-11 | 2025-08-01 | 2025-08-12 | 2025-08-26 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-12-09 | 2025-12-29 | 2026-01-07 | 2026-01-19 | 2026-02-05 | 2026-02-24
pH | ≤5 - ≤9.7 | 6.37 | 6.28 | 6.35 | 6.35 | 6.26 | 6.39 | 6.44 | 6.43 | 6.22 | 6.55 | 6.11 | 6.05 | 6.21 | 6.33
Conductivity | ≤170 | 143 | 140 | 154 | 152 | 139 | 141 | 140 | 142 | 142 | 140 | 144 | 142 | 143 | 143
Turbidity | ≤5 | 0.45 | 0.53 | 0.89 | 0.47 | <0,30 | 0.52 | 0.49 | <0,30 | 1.0 | 1.07 | 0.92 | 0.69 | 0.63 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10.0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 63.4 | 16.9 | 17.3 | 20.3 | 15.2 | 19.9 | 16.6 | 16.7 | 18.4 | 27.1 | 17.7 | 16.5 | 14.8 | 18.8
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-24
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-24
Dissolved solids | ≤1200 | 960 | 939 | 1030 | 1016 | 932 | 944 | 939 | 951 | 951 | 940 | 965 | 950 | 957 | 961
Iron | N/A | bar: 2025-07-11 to 2026-02-24
Magnesium | N/A | 40.8 | 40.3 | 45.3 | 24.2 | 42.4 | 32.6 | 44.4 | 44.5 | 49.0 | 58.6 | 40.3 | 43.6 | 42.2 | 46
Aluminium | ≤300 | 32.9 | 18.2 | 21.8 | 13.2 | 16.1 | <10,0 | <10,0 | <10,0 | <10.0 | <10,0 | 15.5 | <10,0 | 15.4 | 22.5
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## EK
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Eendekuil - Municipal Office
Date
| Range | 2025-07-11 | 2025-07-28 | 2025-08-19 | 2025-08-26 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-17 | 2025-12-09 | 2025-12-29 | 2026-01-07 | 2026-01-19 | 2026-02-04 | 2026-02-23
pH | ≤5 - ≤9.7 | 9.3 | 9.45 | 9.38 | 9.01 | 9.19 | 9.05 | 7.91 | 8.61 | 7.58 | 8.63 | 7.29 | 6.96 | 7.48 | 7.67 | 7.31
Conductivity | ≤170 | 7.15 | 5.8 | 5.57 | 4.67 | 5.07 | 8.47 | 6.23 | 7.17 | 7.39 | 6.7 | 6.99 | 7.03 | 7.49 | 9.11 | 8.45
Turbidity | ≤5 | 0.75 | 0.59 | 0.47 | 0.52 | 0.66 | 0.76 | 0.71 | 0.54 | 1.18 | 0.86 | 1.29 | 1.89 | 1.03 | 0.94 | 1.17
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 17.6 | 5.07 | 5.35 | 5.15 | 5.96 | 7.13 | 4.34 | 4.53 | 5.72 | 6.1 | 6.47 | 5.3 | 8.23 | 5.99 | 9.22
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-23
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-23
Dissolved solids | ≤1200 | 48 | 39 | 37 | 31 | 34 | 57 | 42 | 48 | 50 | 45 | 47 | 47 | 50 | 61 | 57
Iron | N/A | bar: 2025-07-11 to 2026-02-23
Magnesium | N/A | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | 2.24
Aluminium | ≤300 | 199 | 37.8 | 87.1 | 73.3 | 72 | 55.4 | 22.1 | 28.6 | 44.5 | 22.4 | 41.6 | 40.2 | 33 | 34.4 | 17.2
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Eendekuil - WTW Final
Date
| Range | 2025-07-11 | 2025-07-28 | 2025-08-19 | 2025-08-26 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-17 | 2025-12-09 | 2025-12-29 | 2026-01-07 | 2026-01-19 | 2026-02-04 | 2026-02-23
pH | ≤5 - ≤9.7 | 9.58 | 9.24 | 9.14 | 8.35 | 9.28 | 9.43 | 7.17 | 7.41 | 7.84 | 8.62 | 7.17 | 7.51 | 7.21 | 8.39 | 8.53
Conductivity | ≤170 | 7.16 | 5.41 | 5.09 | 4.44 | 6.05 | 10.6 | 7.81 | 10.9 | 7.03 | 6.97 | 7.13 | 6.91 | 6.6 | 9.06 | 10.9
Turbidity | ≤5 | 1.37 | 0.97 | 0.43 | 0.68 | 0.81 | 0.86 | 0.41 | 2.54 | 2.41 | 0.86 | 1.39 | 1.49 | 1.79 | 1.55 | 3.82
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 16.3 | 5.45 | 8.76 | 5.58 | 6.66 | 7.72 | <2,00 | 3.02 | 5.59 | 6.25 | 6.48 | 5.37 | 6.97 | 6.44 | 13.2
Chloride | ≤300 | 10.8 | 8.46 | 6.91 | 6.1 | 8.36 | 17.6 | 16 | 21 | 12.2 | 12 | 13.5 | 12.9 | 9.92 | 16.4 | 15.6
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-23
Dissolved solids | ≤1200 | 48 | 36 | 34 | 30 | 41 | 71 | 52 | 73 | <2,00 | 47 | 48 | 46 | 44 | 61 | 73
Iron | N/A | bar: 2025-07-11 to 2026-02-23
Magnesium | N/A | <2,00 | <2,00 | 3.47 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | 2.19
Aluminium | ≤300 | 153 | 77.1 | 19.7 | 53.5 | 65.1 | 43 | 21.5 | 14.2 | 43.7 | 29.9 | 41.5 | 40.3 | <10,0 | 39.8 | 30.6
E.coli | ≤1 | Not Detected | Not Detected | 2 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## DKB
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Dwarskersbos - Reservoir
Date
| Range | 2025-07-11 | 2025-07-30 | 2025-08-12 | 2025-08-25 | 2025-09-11 | 2025-10-03 | 2025-10-13 | 2025-10-24 | 2025-11-17 | 2025-12-05 | 2025-12-29 | 2026-01-06 | 2026-01-19 | 2026-02-04 | 2026-02-23
pH | ≤5 - ≤9.7 | 8.5 | 8.65 | 7.67 | 8.83 | 8.7 | 8.49 | 8.24 | 7.79 | 8.38 | 8.32 | 8.12 | 7.99 | 8.26 | 8.35 | 8.77
Conductivity | ≤170 | 36.4 | 47.1 | 79.5 | 89.3 | 68.9 | 62.9 | 83.5 | 59.8 | 49.1 | 50.7 | 46.3 | 42 | 29.5 | 26.4 | 23.8
Turbidity | ≤5 | <0,30 | <0,30 | <0,30 | <0,30 | <0,30 | 0.34 | 0.43 | 1.38 | 0.65 | <0,30 | <0,30 | <0,30 | <0,30 | 0.31 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 53.8 | 22.1 | 27.5 | 28.7 | 31.5 | 31.6 | 27 | 18.6 | 20.9 | 24 | 96.6 | 34 | 16.6 | 14.7 | 23.8
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-23
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-23
Dissolved solids | ≤1200 | 244 | 3.16 | 533 | 598 | 462 | 421 | 559 | 401 | 329 | 340 | 310 | 281 | 198 | 177 | 159
Iron | N/A | bar: 2025-07-11 to 2026-02-23
Magnesium | N/A | 17.6 | 9.41 | 18.6 | 20.1 | 20.2 | 12.1 | 21.8 | 12.8 | 11.5 | 13.2 | 32.2 | 9.92 | 7.01 | 5.68 | 6.93
Aluminium | ≤300 | 76.7 | 58.6 | 56.9 | 29.2 | 60.7 | 77 | <10,0 | <10,0 | 121 | 49.5 | 240 | 115 | 115 | 174 | 190
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | 1 | Not Detected | 23 | Not Detected | Not Detected | 1 | 1 | Not Detected | Not Detected | Not Detected | Not Detected

## PB
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Piketberg - Community Centre
Date
| Range | 2025-07-11 | 2025-07-28 | 2025-08-12 | 2025-08-25 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-19 | 2025-12-11 | 2025-12-29 | 2026-01-19 | 2026-02-04 | 2026-02-24
pH | ≤5 - ≤9.7 | 7.24 | 7.52 | 7.44 | 7.27 | 7.34 | 7.44 | 7.38 | 7.44 | 7.54 | 7.45 | 7.46 | 7.36 | 7.37 | 7.23
Conductivity | ≤170 | 36.8 | 48.5 | 75.1 | 58.4 | 55.7 | 59.1 | 58.7 | 48.5 | 47.2 | 49.5 | 44.1 | 26.1 | 26.6 | 21.3
Turbidity | ≤5 (A) ≤1 (O) | 1.79 | 1 | 2.15 | 0.93 | 1.19 | 0.51 | 0.33 | <0,30 | 0.39 | <0,30 | <0,30 | <0,30 | <0,30 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 71.3 | 13.5 | 18.7 | 12.6 | 14 | 22.6 | 14.5 | 12.5 | 20.7 | 14.9 | 22.3 | 9.74 | 14.3 | 10.7
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-24
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-24
Dissolved solids | ≤1200 | 247 | 325 | 503 | 391 | 373 | 396 | 393 | 325 | 316 | 332 | 295 | 175 | 178 | 143
Iron | N/A | bar: 2025-07-11 to 2026-02-24
Magnesium | N/A | 47.4 | 8 | 19 | 13.4 | 14.7 | 11.6 | 15 | 11.2 | 13.7 | 13.8 | 12.4 | 7.26 | 5.85 | 5.07
Aluminium | ≤300 | 44.1 | 17.4 | 14.7 | <10,0 | 27.3 | 13.7 | <10,0 | <10,0 | 17.4 | <10,0 | 41.3 | <10,0 | 164 | 20.6
E.coli | ≤1 | 1 | 6 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - WTW Final
Date
| Range | 2025-07-11 | 2025-07-28 | 2025-08-12 | 2025-08-25 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-19 | 2025-12-11 | 2025-12-29 | 2026-01-07 | 2026-01-19 | 2026-02-04 | 2026-02-24
pH | ≤5 - ≤9.7 | 6.7 | 7 | 7.08 | 7.06 | 6.89 | 7.38 | 7.3 | 7.09 | 7.16 | 7.12 | 7.13 | 6.99 | 6.99 | 7.75 | 7.01
Conductivity | ≤170 | 34.2 | 65.9 | 76.5 | 53.6 | 48.7 | 78.1 | 44.8 | 47 | 47.3 | 47.5 | 41.8 | 34 | 23.9 | 26.3 | 20.1
Turbidity | ≤5 (A) ≤1 (O) | 0.9 | 1.95 | 0.71 | 2.26 | 2.36 | 0.61 | <0,30 | 0.31 | 0.31 | <0,30 | <0,30 | <0,30 | <0,30 | <0,30 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 35 | 13.1 | 16.5 | 11.8 | 12.3 | 27.2 | 10.9 | 11.4 | 18.6 | 13.7 | 16.2 | 14.3 | 7.57 | 13.4 | 10.1
Chloride | ≤300 | 62 | 151 | 173 | 125 | 112 | 171 | 100 | 104 | 110 | 109 | 95.3 | 76.2 | 52.8 | 48.9 | 41.5
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-24
Dissolved solids | ≤1200 | 229 | 442 | 513 | 359 | 326 | 523 | 300 | 315 | 317 | 318 | 280 | 228 | 160 | 176 | 135
Iron | N/A | bar: 2025-07-11 to 2026-02-24
Magnesium | N/A | 20 | 11.5 | 17.6 | 13.5 | 12.9 | 15.7 | 11.4 | 11 | 15 | 13.6 | 9.83 | 7.42 | 6.96 | 5.74 | 5.44
Aluminium | ≤300 | 25.6 | 23.8 | 35.8 | <10,0 | <10,0 | 20.7 | <10,0 | <10,0 | 22.6 | <10,0 | 10.2 | <10,0 | <10,0 | 155 | 11.7
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - Elektriesstoor
Date
| Range | 2025-07-11 | 2025-07-28 | 2025-08-12 | 2025-08-25 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-19 | 2025-12-11 | 2025-12-29 | 2026-01-07 | 2026-01-19 | 2026-02-04
pH | ≤5 - ≤9.7 | 7.48 | 7.69 | 7.64 | 7.47 | 7.43 | 7.54 | 7.58 | 7.4 | 7.57 | 7.46 | 7.41 | 7.49 | 7.45 | 7.36
Conductivity | ≤170 | 36.7 | 32.9 | 72.3 | 45.2 | 45 | 52.8 | 46.9 | 45.5 | 45.4 | 46 | 41.6 | 34.3 | 25.6 | 23.5
Turbidity | ≤5 (A) ≤1 (O) | 0.52 | <0,30 | 0.63 | 0.66 | 2.41 | 1.44 | 0.34 | <0,30 | 0.57 | <0,30 | <0,30 | <0,30 | <0,30 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 59.2 | 29.1 | 24.3 | 19.1 | 17.9 | 29.2 | 19.8 | 12.1 | 16.4 | 19.1 | 23 | 20.5 | 12.3 | 10
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-04
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-04
Dissolved solids | ≤1200 | 246 | 220 | 484 | 303 | 302 | 354 | 314 | 305 | 304 | 308 | 279 | 230 | 172 | 157
Iron | N/A | bar: 2025-07-11 to 2026-02-04
Magnesium | N/A | 18.9 | 5.42 | 16.9 | 10.1 | 11.5 | 11 | 11.1 | 10.8 | 11.2 | 12.3 | 11.7 | 7.38 | 6.8 | 5.77
Aluminium | ≤300 | 12.9 | 31.5 | <10,0 | 14.7 | <10,0 | 19.3 | <10,0 | <10,0 | 23 | <10,0 | 22.5 | 14.1 | <10,0 | 10.1
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - Municipal offices
Date
| Range | 2025-07-11 | 2025-07-28 | 2025-08-12 | 2025-08-25 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-19 | 2025-12-11 | 2025-12-29 | 2026-01-07 | 2026-01-19 | 2026-02-04 | 2026-02-24
pH | ≤5 - ≤9.7 | 7.35 | 7.54 | 7.58 | 7.35 | 7.47 | 7.5 | 7.55 | 7.36 | 7.52 | 7.37 | 7.41 | 7.43 | 7.42 | 8.28 | 7.35
Conductivity | ≤170 | 36.8 | 45.3 | 65.8 | 45.6 | 44.1 | 52.4 | 46.7 | 46.7 | 45.4 | 45.9 | 41.1 | 34.3 | 25.7 | 27.4 | 21.5
Turbidity | ≤5 (A) ≤1 (O) | 0.66 | 0.78 | 0.56 | 0.76 | 0.83 | 0.33 | 0.32 | <0,30 | 0.38 | <0,30 | <0,30 | <0,30 | 0.34 | <0,30 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 94.6 | 24.9 | 26.8 | 18.3 | 18.7 | 27.5 | 19.1 | 11.7 | 23.1 | 17.5 | 23.3 | 25.5 | 11.7 | 15.2 | 15.3
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-24
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-24
Dissolved solids | ≤1200 | 247 | 304 | 441 | 306 | 295 | 351 | 313 | 313 | 304 | 308 | 275 | 230 | 172 | 184 | 144
Iron | N/A | bar: 2025-07-11 to 2026-02-24
Magnesium | N/A | 43.7 | 7.18 | 15.6 | 9.91 | 11.2 | 10.8 | 11.1 | 10.9 | 14.9 | 12.5 | 11.3 | 9.59 | 6.75 | 5.78 | 5.27
Aluminium | ≤300 | 19.3 | 15.2 | 17.1 | 14.1 | <10,0 | 12.8 | <10,0 | <10,0 | 25 | <10,0 | 30.5 | 16.9 | <10,0 | 199 | 26
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## PV
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Porterville - Municipal office
Date
| Range | 2025-07-11 | 2025-08-07 | 2025-08-12 | 2025-08-25 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-17 | 2025-12-29 | 2025-12-30 | 2026-01-07 | 2026-01-19 | 2026-02-05 | 2026-02-23
pH | ≤5 - ≤9.7 | 10.4 | 8.77 | 10.1 | 9.89 | 10.4 | 10 | 9.71 | 9.62 | 9.43 | 9.67 | 9.33 | 9.51 | 9.23 | 9.55 | 9.66
Conductivity | ≤170 | 13.8 | 5.97 | 10.9 | 9.74 | 14.1 | 12 | 9.14 | 10.2 | 9.15 | 10.3 | 8.93 | 9.59 | 8.35 | 9.14 | 9.47
Turbidity | ≤5 | 0.99 | 0.67 | 0.83 | 0.93 | 0.71 | 1.52 | 0.96 | 1.41 | 0.78 | 1.04 | 0.82 | 0.43 | 1.22 | 1.3 | 0.69
Colour | ≤15 | bar: 2025-08-12 to 2026-02-23
Calcium | N/A | 22.6 | 5.21 | 12.7 | 61.4 | 18.3 | 17.4 | 10.2 | 12.2 | 11.2 | 14.4 | 11.8 | 12.3 | 9.23 | 10.8 | 18.8
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-23
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-23
Dissolved solids | ≤1200 | bar: 2025-07-11 to 2026-02-23
Iron | N/A | bar: 2025-07-11 to 2026-02-23
Magnesium | N/A | <2,00 | <2,00 | <2,00 | 3.62 | <2,00 | 2.02 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | 2.95
Aluminium | ≤300 | 79.8 | 41.3 | 106 | 93.6 | 85.6 | 69.8 | 49.9 | 37.6 | 46.3 | 87 | 52.7 | 68.3 | 57.1 | 57.8 | 97.5
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detectec | Not Detected
Area Tested | Porterville - Library
Date
| Range | 2025-07-11 | 2025-08-07 | 2025-08-12 | 2025-08-25 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-17 | 2025-12-29 | 2025-12-30 | 2026-01-07 | 2026-01-19 | 2026-02-05 | 2026-02-23
pH | ≤5 - ≤9.7 | 10.4 | 9.26 | 9.9 | 9.89 | 10.4 | 10.2 | 9.73 | 9.73 | 9.56 | 9.73 | 9.35 | 9.61 | 9.63 | 9.78 | 9.85
Conductivity | ≤170 | 14 | 6.72 | 10.3 | 9.52 | 15.1 | 13.4 | 9.28 | 10.6 | 9.96 | 10.7 | 8.83 | 10.2 | 10.3 | 10.2 | 10.5
Turbidity | ≤5 | 0.82 | 0.81 | 2.12 | 0.87 | 0.67 | 0.69 | 0.93 | 0.6 | 0.79 | 0.84 | 0.5 | 0.64 | 0.81 | 0.78 | 0.76
Colour | ≤15 | bar: 2025-07-11 to 2026-02-23
Calcium | N/A | 35.9 | 6.42 | 12.1 | 51 | 18.8 | 19.1 | 10.7 | 13.4 | 12.3 | 15.3 | 11.7 | 12.3 | 11.5 | 11.3 | 14.3
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-23
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-23
Dissolved solids | ≤1200 | bar: 2025-07-11 to 2026-02-23
Iron | N/A | bar: 2025-07-11 to 2026-02-23
Magnesium | N/A | <2,00 | <2,00 | <2,00 | 2.89 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | 2.55
Aluminium | ≤300 | 127 | 58.7 | 96 | 82.1 | 86.2 | 80.9 | 53.9 | 26.6 | 49.8 | 96.1 | 56.6 | 87.2 | 54.2 | 63.5 | 73.8
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not detected | Not Detected
Area Tested | Porterville - WWTW Tap
Date
| Range | 2025-07-11 | 2025-08-07 | 2025-08-12 | 2025-08-25 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-17 | 2025-12-29 | 2025-12-30 | 2026-01-07 | 2026-01-19 | 2026-02-05 | 2026-02-23
pH | ≤5 - ≤9.7 | 10.4 | 9.29 | 10 | 9.83 | 10.4 | 10.2 | 9.74 | 9.82 | 9.33 | 8.95 | 8.92 | 9.71 | 9.72 | 9.79 | 9.95
Conductivity | ≤170 | 12.7 | 6.64 | 9.97 | 8.89 | 14.7 | 13.3 | 9.45 | 10.2 | 9.07 | 9.2 | 8.13 | 10.5 | 9.92 | 10.3 | 10.6
Turbidity | ≤5 | 0.88 | 0.61 | 0.73 | 0.46 | 0.51 | 0.67 | 0.53 | 0.45 | 0.56 | 0.46 | 0.32 | 0.6 | 0.51 | 2.48 | 0.6
Colour | ≤15 | bar: 2025-08-12 to 2026-02-23
Calcium | N/A | 28.5 | 6.34 | 12.8 | 47.7 | 18.8 | 18.6 | 10.9 | 12.8 | 10.7 | 13 | 10.8 | 13.2 | 12.4 | 11.3 | 20.7
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-23
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-23
Dissolved solids | ≤1200 | bar: 2025-07-11 to 2026-02-23
Iron | N/A | bar: 2025-07-11 to 2026-02-23
Magnesium | N/A | <2,00 | <2,00 | <2,00 | 2.66 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | <2,00 | 2.85
Aluminium | ≤300 | 126 | 50.3 | 112 | 93.2 | 84.3 | 72.3 | 55.1 | 36.2 | 34.9 | 160 | 57.9 | 71.4 | 52.5 | 72.6 | 110
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - WTW Final
Date
| Range | 2025-07-11 | 2025-08-07 | 2025-08-12 | 2025-08-25 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-17 | 2025-12-29 | 2025-12-30 | 2026-01-07 | 2026-01-19 | 2026-02-05 | 2026-02-23
pH | ≤5 - ≤9.7 | 10.3 | 7.23 | 10.1 | 9.68 | 10.2 | 9.79 | 9.47 | 9.33 | 9.12 | 9.49 | 9.28 | 5.74 | 9.73 | 9.26 | 5.69
Conductivity | ≤170 | 11.4 | 5.55 | 11.1 | 8.95 | 12.3 | 10.4 | 8.67 | 9.02 | 8.62 | 9.58 | 8.53 | 4.96 | 10.5 | 8.82 | 4.71
Turbidity | ≤5 | 1.31 | 0.72 | 0.98 | 1.03 | 1.17 | 1.12 | 0.93 | 0.86 | 1.17 | 2.34 | 0.58 | 0.91 | 1.5 | 1.34 | 0.87
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 30.5 | 4.02 | 12.6 | 49.1 | 13 | 14 | 9.44 | 10.3 | 9.61 | 13.1 | 11.1 | <2,00 | 12.5 | 7.76 | 2.1
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-23
Flouride | ≤1.5 | 0.1 | 0.08 | <0,20 | <0,20 | <0,20 | <0,20 | <0,20 | <0,20 | <0,20 | <0,20 | <0,20 | <0,20 | <0,20 | <0,20 | <0,20
Dissolved solids | ≤1200 | 76 | 37 | 74 | 60 | 82 | 69 | 58 | 60 | 58 | 64 | 57 | 33 | 70 | 59 | 32
Iron | N/A | <20,0 | 21.3 | 25 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | 22.2 | 23.9 | 22.3 | 25
Magnesium | N/A | <2,00 | <2,00 | <2,00 | 3.25 | <20,0 | 2.07 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0
Aluminium | ≤300 | 122 | <20,0 | 99.1 | 75.9 | 71.2 | 79.2 | 75.7 | 50.2 | 43.8 | 76.8 | 60.3 | 34.4 | 61.9 | 66.6 | 29.9
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | 5 | 14 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## RH
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Redelinghuys - Municipal office
Date
| Range | 2025-07-11 | 2025-08-01 | 2025-08-12 | 2025-08-26 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-17 | 2025-12-09 | 2025-12-29 | 2026-01-07 | 2026-01-19 | 2026-02-04 | 2026-02-24
pH | ≤5 - ≤9.7 | 6.86 | 6.69 | 6.82 | 6.91 | 6.87 | 6.89 | 6.9 | 7.07 | 7.07 | 6.9 | 6.97 | 7.59 | 7.7 | 7.58 | 7.45
Conductivity | ≤170 | 109 | 121 | 122 | 122 | 120 | 100 | 104 | 106 | 106 | 104 | 96.3 | 81.1 | 84 | 85 | 87.5
Turbidity | ≤5 | 0.78 | 0.46 | 0.55 | 0.91 | 0.45 | <0,30 | 0.34 | <0,30 | 0.36 | <0,3 | 0.46 | 1.43 | 1.7 | 0.45 | 0.48
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10.0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 36.7 | 24.5 | 24.4 | 31.7 | 28.2 | 27.6 | 20.6 | 19.9 | 19.5 | 20.9 | 53.6 | 25.5 | 18.7 | 16.7 | 30.6
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-24
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-24
Dissolved solids | ≤1200 | 729 | 810 | 817 | 818 | 805 | 673 | 696 | 709 | 713 | 695 | 645 | 543 | 563 | 570 | 586
Iron | N/A | bar: 2025-07-11 to 2026-02-24
Magnesium | N/A | 27.9 | 33.8 | 33.9 | 18.5 | 35.6 | 19.6 | 29 | 24.3 | 27.7 | 30.7 | 44.6 | 16.3 | 21.2 | 21 | 27.6
Aluminium | ≤300 | 31.1 | 16.1 | 38.6 | 20.8 | 11.8 | 17.1 | <10,0 | <10,0 | 21.8 | <10.0 | 23.3 | 29.3 | <10,0 | 20.1 | 28
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Redelinghuys - WTW Final
Date
| Range | 2025-07-11 | 2025-08-01 | 2025-08-12 | 2025-08-26 | 2025-09-12 | 2025-10-03 | 2025-10-17 | 2025-10-24 | 2025-11-17 | 2025-12-09 | 2025-12-29 | 2026-01-07 | 2026-01-19 | 2026-02-04 | 2026-02-24
pH | ≤5 - ≤9.7 | 6.83 | 6.62 | 6.81 | 6.79 | 6.8 | 6.72 | 6.79 | 6.96 | 6.89 | 6.80 | 6.88 | 7.39 | 7.33 | 7.45 | 7.5
Conductivity | ≤170 | 106 | 121 | 120 | 121 | 120 | 99.1 | 104 | 103 | 106 | 104 | 97 | 81.2 | 85.6 | 85.5 | 88.4
Turbidity | ≤5 | 0.43 | 0.44 | 0.51 | <0,30 | <0,30 | <0,30 | 0.34 | 0.31 | 0.4 | <0.30 | 0.37 | <0,30 | <0,30 | 2.63 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 47.7 | 23.2 | 23.8 | 31.1 | 27.4 | 25.2 | 18.9 | 20.3 | 18.4 | 19.8 | 27.4 | 24.2 | 17.8 | 16.1 | 28.8
Chloride | ≤300 | 240 | 262 | 265 | 265 | 262 | 216 | 243 | 237 | 261 | 252 | 236 | 184 | 203 | 199 | 205
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-24
Dissolved solids | ≤1200 | 707 | 807 | 804 | 807 | 805 | 664 | 695 | 693 | 709 | 695 | 650 | 544 | 574 | 573 | 592
Iron | N/A | bar: 2025-07-11 to 2026-02-24
Magnesium | N/A | 28.1 | 33.9 | 34.4 | 20.4 | 35.5 | 19.3 | 29 | 28.4 | 26.9 | 30.8 | 24.2 | 16.7 | 22.5 | 21.1 | 25.5
Aluminium | ≤300 | 51.5 | 40.2 | 10.3 | <10,0 | <10,0 | 12.4 | <10,0 | <10,0 | 13.7 | <10,0 | 19 | 10.4 | <10,0 | 17.1 | 15.9
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## VD
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Velddrif - Civic centre
Date
| Range | 2025-07-11 | 2025-07-30 | 2025-08-12 | 2025-08-25 | 2025-09-19 | 2025-10-05 | 2025-10-13 | 2025-10-24 | 2025-11-19 | 2025-12-07 | 2025-12-29 | 2026-01-06 | 2026-01-19 | 2026-02-04 | 2026-02-23
pH | ≤5 - ≤9.7 | 7.77 | 7.97 | 8.08 | 8.17 | 8.26 | 8.54 | 7.98 | 7.68 | 7.7 | 7.67 | 7.65 | 7.41 | 7.91 | 7.35 | 7.64
Conductivity | ≤170 | 37 | 48.8 | 84.2 | 81.1 | 67.5 | 67.3 | 80.4 | 61.5 | 48.5 | 50.4 | 46.5 | 42.4 | 30.6 | 24.2 | 23.3
Turbidity | ≤5 | <0,30 | 0.42 | <0,30 | 4.62 | <0,30 | 0.37 | 0.8 | 0.38 | 0.68 | <0,30 | <0,30 | <0,30 | <0,30 | <0,30 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 44.4 | 21.3 | 26.5 | 25.4 | 26.2 | 33.2 | 26.5 | 18.3 | 20.8 | 22.4 | 102 | 32.2 | 16.8 | 8.27 | 18.9
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-23
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-23
Dissolved solids | ≤1200 | 248 | 327 | 564 | 543 | 452 | 451 | 539 | 412 | 325 | 338 | 312 | 284 | 205 | 162 | 156
Iron | N/A | bar: 2025-07-11 to 2026-02-23
Magnesium | N/A | 19 | 10.1 | 18.8 | 18.4 | 16.7 | 12.7 | 21 | 13.1 | 12.9 | 13.2 | 35.4 | 10.6 | 7.08 | 6.1 | 6.67
Aluminium | ≤300 | 85 | 56.7 | 53.7 | 25.5 | 60.3 | 73.1 | 12.3 | <10,0 | 100 | 45.4 | 181 | 78.2 | 100 | <10,0 | 152
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | 33 | 1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Velddrif - Municipal Office
Date
| Range | 2025-07-11 | 2025-07-30 | 2025-08-12 | 2025-08-25 | 2025-09-19 | 2025-10-05 | 2025-10-13 | 2025-10-24 | 2025-11-19 | 2025-12-07 | 2025-12-29 | 2026-01-06 | 2026-01-19 | 2026-02-04 | 2026-02-23
pH | ≤5 - ≤9.7 | 9.05 | 9.21 | 8.93 | 8.9 | 8.79 | 8.72 | 8.74 | 8.33 | 7.97 | 8.32 | 8.26 | 7.81 | 8.51 | 7.39 | 8.12
Conductivity | ≤170 | 37.8 | 49.3 | 81 | 83.1 | 67.2 | 64.6 | 83.4 | 62 | 47.6 | 51.4 | 47 | 42.6 | 30.6 | 23.8 | 23.8
Turbidity | ≤5 | 0.33 | <0,30 | <0,30 | <0,30 | <0,30 | <0,30 | 1.04 | 0.58 | 0.48 | < 0,30 | <0,30 | <0,30 | 1.8 | <0,30 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 55.3 | 25.1 | 27.7 | 27.8 | 25.9 | 34.3 | 29.1 | 19.3 | 17.2 | 24.6 | 105 | 27.7 | 17.6 | 10.2 | 18.7
Chloride | ≤300 | bar: 2025-07-11 to 2026-01-06; 2026-02-04 to 2026-02-23
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-23
Dissolved solids | ≤1200 | 253 | 330 | 543 | 557 | 450 | 433 | 559 | 415 | 319 | 344 | 315 | 285 | 205 | 159 | 159
Iron | N/A | bar: 2025-07-11 to 2026-02-23
Magnesium | N/A | 15.2 | 9.65 | 17.5 | 18.6 | 16 | 11.8 | 21.4 | 13 | 15.5 | 13.1 | 33.6 | 8.18 | 7.15 | 5.73 | 6.05
Aluminium | ≤300 | 61.1 | 51.5 | 42.8 | 30.8 | 64.8 | 66.9 | <10,0 | <10,0 | 38.8 | 56.2 | 224 | 116 | 103 | <10,0 | 170
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | 2 | Not Detected | 6 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Velddrif - WTW Final/Reservoir
Date
| Range | 2025-07-11 | 2025-07-30 | 2025-08-12 | 2025-08-25 | 2025-09-19 | 2025-10-05 | 2025-10-13 | 2025-10-24 | 2025-11-19 | 2025-12-07 | 2025-12-29 | 2026-01-06 | 2026-01-19 | 2026-02-04 | 2026-02-23
pH | ≤5 - ≤9.7 | 7.82 | 7.77 | 8.05 | 8.42 | 8 | 7.93 | 7.9 | 7.66 | 7.71 | 7.78 | 7.66 | 7.58 | 7.71 | 6.99 | 7.71
Conductivity | ≤170 | 37.2 | 46.8 | 83.2 | 79.5 | 66.5 | 65.1 | 80.9 | 62.9 | 47.5 | 50 | 46.7 | 42.2 | 30.3 | 22.7 | 23.1
Turbidity | ≤5 | 0.31 | 0.63 | <0,30 | <0,30 | <0,30 | <0,30 | 0.4 | 0.46 | 0.64 | 0.31 | <0,30 | <0,30 | <0,30 | <0,30 | <0,30
Colour | ≤15 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0 | <10,0
Calcium | N/A | 51.6 | 20.6 | 25.2 | 25.1 | 27.6 | 35.3 | 24.9 | 18.1 | 23.9 | 22.0 | 83.1 | 25.1 | 16.1 | 6.42 | 19.2
Chloride | ≤300 | bar: 2025-07-11 to 2026-02-23
Flouride | ≤1.5 | bar: 2025-07-11 to 2026-02-23
Dissolved solids | ≤1200 | 249 | 314 | 557 | 533 | 446 | 436 | 542 | 421 | 318 | 335 | 313 | 283 | 203 | 152 | 155
Iron | N/A | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0 | <20.0 | <20,0 | <20,0 | <20,0 | <20,0 | <20,0
Magnesium | N/A | 19.9 | 9.67 | 18.3 | 18.2 | 17.7 | 13.7 | 20.7 | 13.2 | 13.6 | 13.1 | 29 | 7.93 | 7.15 | 5.72 | 6.59
Aluminium | ≤300 | 81.4 | 60.1 | 64.7 | 42.3 | 55.5 | 78.4 | <10,0 | <10,0 | 113 | 53.2 | 180 | 104 | 93.2 | <10,0 | 180
E.coli | ≤1 | 2 | 1 | Not Detected | Not Detected | 1 | 2 | 16 | Not Detected | Not detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected