## RH
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Redelinghuys - Municipal office
Date
| Range | 2020-07-15 | 2020-07-28 | 2020-08-11 | 2020-08-25
pH | ≤5 - ≤9.7 | 6.52 | 6.9 | 6.77 | 6.7
Conductivity | ≤170 | 96.2 | 96.6 | 91.5 | 89.8
Turbidity | ≤5 | 0.64 | 0.82 | 0.33 | <0.32
Colour | ≤15 | 19 | <10 | 10 | <10
Calcium | N/A | 17.6 | 18.6 | 15.8 | 17.6
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 646 | 647 | 614 | 602
Iron | N/A | - | - | - | -
Magnesium | N/A | 24.1 | 21.7 | 19.1 | 20.8
Aluminium | ≤300 | <50 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Redelinghuys - WTW Final
Date
| Range | 2020-07-15 | 2020-07-28 | 2020-08-11 | 2020-08-25
pH | ≤5 - ≤9.7 | 6.76 | 6.41 | 6.67 | 6.34
Conductivity | ≤170 | 96.3 | 94.7 | 92.2 | 89.6
Turbidity | ≤5 | 0.92 | 0.33 | 0.49 | <0.32
Colour | ≤15 | 21 | 11 | 10 | <10
Calcium | N/A | 18.4 | 16.8 | 16.9 | 16.9
Chloride | ≤300 | 228 | 211 | 209 | 214
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 646 | 634 | 618 | 600
Iron | N/A | - | - | - | -
Magnesium | N/A | 23.9 | 22 | 19.8 | 20
Aluminium | ≤300 | 57.3 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected

## EK
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Eendekuil - Municipal Office
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26
pH | ≤5 - ≤9.7 | 8.91 | 7.43 | 8.9 | 7.53
Conductivity | ≤170 | 8.81 | 7.07 | 8.33 | 5.93
Turbidity | ≤5 | 0.43 | 0.45 | <0.32 | 0.61
Colour | ≤15 | <10 | <10 | <10 | <10
Calcium | N/A | 5.02 | 4.9 | 7.03 | 6.59
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 59 | 47 | 66 | 40
Iron | N/A | - | - | - | -
Magnesium | N/A | 1.66 | <0.5 | 1.19 | <0.5
Aluminium | ≤300 | <50 | <50 | <50 | 77.6
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Eendekuil - WTW Final
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26
pH | ≤5 - ≤9.7 | 9.17 | 7.19 | 8.94 | 8.31
Conductivity | ≤170 | 8.98 | 7.4 | 7.99 | 5.96
Turbidity | ≤5 | 0.96 | 0.61 | 0.39 | 0.65
Colour | ≤15 | <10 | <10 | <10 | <10
Calcium | N/A | 5.25 | 5.15 | 7.04 | 6.55
Chloride | ≤300 | 14.4 | 12.7 | 15.4 | 11.4
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 60 | 60 | 64 | 40
Iron | N/A | - | - | - | -
Magnesium | N/A | 1.68 | <0.5 | 1.18 | <0.5
Aluminium | ≤300 | <50 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected

## PB
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Piketberg - Community Centre
Date
| Range | 2020-07-29
pH | ≤5 - ≤9.7 | 8.21
Conductivity | ≤170 | 68.1
Turbidity | ≤5 | 3.39
Colour | ≤15 | <10
Calcium | N/A | 23.7
Chloride | ≤300 | -
Flouride | ≤1.5 | -
Dissolved solids | ≤1200 | 389
Iron | N/A | -
Magnesium | N/A | 8.82
Aluminium | ≤300 | 114
E.coli | ≤1 | Not Detected
Area Tested | Piketberg - WTW Final
Date
| Range | 2020-07-16 | 2020-07-29 | 2020-08-12 | 2020-08-26
pH | ≤5 - ≤9.7 | 4.53 | 6.17 | 6.86 | 6.5
Conductivity | ≤170 | 66.8 | 69.4 | 131 | 41.3
Turbidity | ≤1 | 3.34 | 3.38 | 0.88 | <0.32
Colour | ≤15 | <10 | <10 | <10 | 12
Calcium | N/A | 13.1 | 17.8 | 22 | 9.79
Chloride | ≤300 | 138 | 154 | 311 | 100
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 441 | 466 | 875 | 277
Iron | N/A | - | - | - | -
Magnesium | N/A | 13.3 | 15.2 | 26.4 | 9.66
Aluminium | ≤300 | 1550 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - Elektriesstoor
Date
| Range | 2020-07-16 | 2020-07-29 | 2020-08-12
pH | ≤5 - ≤9.7 | 6.75 | 6.61 | 7.41
Conductivity | ≤170 | 48.9 | 66.1 | 101
Turbidity | ≤5 | 1.68 | 2.67 | 0.91
Colour | ≤15 | <10 | <10 | <10
Calcium | N/A | 16.4 | 21.2 | 21.5
Chloride | ≤300 | - | - | -
Flouride | ≤1.5 | - | - | -
Dissolved solids | ≤1200 | 328 | 443 | 676
Iron | N/A | - | - | -
Magnesium | N/A | 9.91 | 13.8 | 19.4
Aluminium | ≤300 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - Municipal offices
Date
| Range | 2020-07-16 | 2020-07-29 | 2020-08-12 | 2020-08-26
pH | ≤5 - ≤9.7 | 6.39 | 6.68 | 7.4 | 6.79
Conductivity | ≤170 | 66.7 | 66.9 | 102 | 42.2
Turbidity | ≤5 | 3.44 | 3.14 | 0.92 | 2.6
Colour | ≤15 | <10 | <10 | <10 | <10
Calcium | N/A | 16.9 | 21.1 | 21.2 | 38.2
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 373 | 442 | 685 | 283
Iron | N/A | - | - | - | -
Magnesium | N/A | 11.5 | 13.8 | 19.5 | 20.1
Aluminium | ≤300 | <50 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected

## AU
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Aurora - Municipal office
Date
| Range | 2020-07-14 | 2020-07-28 | 2020-08-11 | 2020-08-25
pH | ≤5 - ≤9.7 | 6.84 | 6.89 | 6.89 | 6.44
Conductivity | ≤170 | 142 | 150 | 163 | 148
Turbidity | ≤5 | 5.57 | 0.58 | 1.97 | 1.37
Colour | ≤15 | <10 | <10 | <10 | <10
Calcium | N/A | 17.3 | 17.8 | 17.2 | 17.6
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 953 | 1002 | 1089 | 992
Iron | N/A | - | - | - | -
Magnesium | N/A | 35.6 | 37.9 | 36.9 | 35.1
Aluminium | ≤300 | 64.3 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Aurora - WTW Final
Date
| Range | 2020-07-14 | 2020-07-28 | 2020-08-11 | 2020-08-25
pH | ≤5 - ≤9.7 | 6.36 | 6.41 | 6.44 | 6.25
Conductivity | ≤170 | 141 | 147 | 162 | 147
Turbidity | ≤5 | 7.77 | 1.66 | 1.5 | 2.34
Colour | ≤15 | <10 | <10 | <10 | <10
Calcium | N/A | 15.9 | 14.6 | 15.4 | 16.9
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 941 | 984 | 1084 | 985
Iron | N/A | - | - | - | -
Magnesium | N/A | 36.1 | 36.1 | 35.9 | 35.1
Aluminium | ≤300 | 61.9 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected

## VD
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Velddrif - Civic centre
Date
| Range | 2020-07-28 | 2020-08-25
pH | ≤5 - ≤9.7 | 7.53 | 7.67
Conductivity | ≤170 | 55.2 | 145
Turbidity | ≤5 | 0.35 | 0.43
Colour | ≤15 | <10 | <10
Calcium | N/A | 19.4 | 52.2
Chloride | ≤300 | - | -
Flouride | ≤1.5 | - | -
Dissolved solids | ≤1200 | 370 | 970
Iron | N/A | - | -
Magnesium | N/A | 9.9 | 40
Aluminium | ≤300 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected
Area Tested | Velddrif - Municipal Office
Date
| Range | 2020-07-14 | 2020-07-28 | 2020-08-11 | 2020-08-25
pH | ≤5 - ≤9.7 | 9 | 8.34 | 8.34 | 8.05
Conductivity | ≤170 | 30.4 | 55.3 | 78.2 | 151
Turbidity | ≤5 | <0.32 | 0.32 | 0.48 | 0.51
Colour | ≤15 | <10 | <10 | <10 | <10
Calcium | N/A | 13.4 | 21.3 | 21.8 | 52.5
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 204 | 371 | 524 | 1011
Iron | N/A | - | - | - | -
Magnesium | N/A | 5.87 | 9.62 | 14.4 | 40.7
Aluminium | ≤300 | 73.1 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Velddrif - WTW Final/Reservoir
Date
| Range | 2020-07-14 | 2020-07-28 | 2020-08-11 | 2020-08-25
pH | ≤5 - ≤9.7 | 8 | 7.49 | 7.5 | 7.75
Conductivity | ≤170 | 31.7 | 63.7 | 101 | 144
Turbidity | ≤5 | 0.46 | 0.61 | 0.33 | 1.25
Colour | ≤15 | <10 | <10 | <10 | <10
Calcium | N/A | 12.6 | 20.6 | 22.1 | 48.6
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 212 | 427 | 679 | 965
Iron | N/A | <20 | <20 | <20 | 29.8
Magnesium | N/A | 6.1 | 11.7 | 18.4 | 39
Aluminium | ≤300 | 77.7 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected

## PV
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Porterville - Municipal office
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26
pH | ≤5 - ≤9.7 | 9.47 | 9.4 | 9.54 | 9.28
Conductivity | ≤170 | 10.3 | 9.57 | 10.2 | 8.49
Turbidity | ≤5 | <0.32 | 0.51 | 0.54 | 0.5
Colour | ≤15 | - | - | - | -
Calcium | N/A | 8.91 | 9.94 | 10.2 | 8.65
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | - | - | - | -
Iron | N/A | - | - | - | -
Magnesium | N/A | 2.02 | 0.95 | 1.65 | 0.85
Aluminium | ≤300 | <50 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - Library
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26
pH | ≤5 - ≤9.7 | 9.36 | 9.42 | 9.67 | 9.47
Conductivity | ≤170 | 10.9 | 9.94 | 10.9 | 9.19
Turbidity | ≤5 | 0.37 | 0.53 | 0.47 | 0.41
Colour | ≤15 | - | - | - | -
Calcium | N/A | 10 | 10.6 | 10.9 | 9.01
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | - | - | - | -
Iron | N/A | - | - | - | -
Magnesium | N/A | 1.77 | 1 | 1.66 | 0.84
Aluminium | ≤300 | <50 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - WWTW Tap
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26
pH | ≤5 - ≤9.7 | 8.79 | 9.25 | 9.76 | 9.16
Conductivity | ≤170 | 8.84 | 9.66 | 10.8 | 8.13
Turbidity | ≤5 | 0.98 | 0.66 | 0.71 | 0.39
Colour | ≤15 | - | - | - | -
Calcium | N/A | 6.63 | 9.99 | 11 | 9.25
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | - | - | - | -
Iron | N/A | - | - | - | -
Magnesium | N/A | 2.09 | 1.12 | 1.67 | 1.09
Aluminium | ≤300 | 62.3 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected
.
Area Tested | Porterville - WTW Final
Date
| Range | 2020-07-15 | 2020-07-29 | 2020-08-12 | 2020-08-26
pH | ≤5 - ≤9.7 | 6.83 | 9.2 | 9.16 | 8.55
Conductivity | ≤170 | 7.79 | 9.1 | 9.22 | 7.39
Turbidity | ≤5 | 1.33 | 0.78 | 0.64 | 0.8
Colour | ≤15 | <10 | <10 | <10 | <10
Calcium | N/A | 4.82 | 8.99 | 9.21 | 7.51
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 52 | 61 | 62 | 50
Iron | N/A | - | - | - | -
Magnesium | N/A | 2.19 | 1.1 | 1.74 | 0.94
Aluminium | ≤300 | 64.8 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected

## DKB
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-2:2015
Area Tested | Dwarskersbos - Reservoir
Date
| Range | 2020-07-14 | 2020-07-28 | 2020-08-11 | 2020-08-25
pH | ≤5 - ≤9.7 | 8.81 | 8.06 | 7.78 | 7.94
Conductivity | ≤170 | 31 | 47.8 | 90.2 | 146
Turbidity | ≤5 | <0.32 | <0.32 | 0.86 | <0.32
Colour | ≤15 | <10 | <10 | <10 | <10
Calcium | N/A | 13.1 | 19.7 | 20.6 | 31.4
Chloride | ≤300 | - | - | - | -
Flouride | ≤1.5 | - | - | - | -
Dissolved solids | ≤1200 | 208 | 320 | 604 | 978
Iron | N/A | - | - | - | -
Magnesium | N/A | 5.72 | 8.01 | 15.1 | 28.3
Aluminium | ≤300 | 85.6 | <50 | <50 | <50
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected