## RH
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Redelinghuys - Municipal office
Date
| Range | 2022-07-07 | 2022-07-21 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-05 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-03 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.12 | 6.95 | 8.67 | 8.05 | 8.83 | 7.66 | 8.05 | 7.77 | 6.99 | 7.75 | 7.66 | 8.06 | 7.54 | 7.64 | 7.39 | 7.66 | 7.33
Conductivity | ≤170 | 108 | 101 | 102 | 104 | 107 | 106 | 112 | 92 | 98.2 | 93 | 82 | 91.5 | 95.7 | 84.5 | 93.3 | 90.5 | 103
Turbidity | ≤5 | 0.57 | 0.6 | 0.64 | 0.27 | 0.31 | 0.45 | 0.34 | 0.65 | 1 | 1.2 | 1.4 | 0.7 | 0.92 | 0.74 | 1 | 0.73 | 1.2
Colour | ≤15 | <4 | <4 | <4 | <4 | <4 | <4 | 5 | 5 | 4 | 8 | <4 | <4 | <4 | <4 | <4 | <4 | 8
Calcium | N/A | 17.7 | 15.4 | 13.1 | 18.4 | 17.8 | 15.4 | 15.4 | 17.1 | 16.6 | 19 | 17.6 | 18.5 | 20.3 | 17.9 | 21.6 | 15.6 | 17.3
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 710 | 674 | 648 | 690 | 698 | 708 | 742 | 600 | 642 | 622 | 538 | 615 | 628 | 566 | 610 | 588 | 680
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | 26.5 | 22.4 | 20.8 | 26.8 | 24.5 | 14.3 | 23 | 19.3 | 26.3 | 27.1 | 16.8 | 7.8 | 22.7 | 17.6 | 21.3 | 16.6 | 16.9
Aluminium | ≤300 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Redelinghuys - WTW Final
Date
| Range | 2022-07-21 | 2022-08-18 | 2022-09-15 | 2022-10-20 | 2022-11-17 | 2022-12-13 | 2023-01-19 | 2023-02-02 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.27 | 8.13 | 8.22 | 8.19 | 6.97 | 7.64 | 9.17 | 7.99 | 7.62
Conductivity | ≤170 | 99.9 | 109 | 109 | 114 | 97.2 | 98 | 94.5 | 82.1 | 98.7
Turbidity | ≤5 | 0.92 | 0.46 | 0.29 | 0.46 | 0.76 | 1.3 | 9.8 | 1.7 | 3.4
Colour | ≤15 | <4 | <4 | 4 | 6 | <4 | <4 | <4 | <4 | <4
Calcium | N/A | 14.9 | 17.5 | 17.9 | 16.8 | 16.1 | 17.2 | 29.1 | 15 | 11.8
Chloride | ≤300 | bar: 2022-07-21 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-21 to 2023-03-16
Dissolved solids | ≤1200 | 648 | 698 | 700 | 748 | 638 | 628 | 618 | 538 | 634
Iron | N/A | bar: 2022-07-21 to 2023-03-16
Magnesium | N/A | 21.2 | 25.7 | 22.5 | 22.5 | 26.2 | 17.9 | 23.2 | 17.7 | 15.1
Aluminium | ≤300 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## EK
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Eendekuil - Municipal Office
Date
| Range | 2022-07-07 | 2022-07-21 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-15 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-05 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-03 | 2023-03-16
pH | ≤5 - ≤9.7 | 10.15 | 10.43 | 9.01 | 8.38 | 9.13 | 9.09 | 8.22 | 8.41 | 7.99 | 6.82 | 7.92 | 7.52 | 8.83 | 9.5 | 9.32 | 8.75 | 9.01 | 8.74
Conductivity | ≤170 | 7 | 8.9 | 8.7 | 9.7 | 9.9 | 8.7 | 8.3 | 7.9 | 9.1 | 8.7 | 9 | 9.5 | 9.4 | 9.9 | 10.3 | 6.9 | 11.6 | 13.9
Turbidity | ≤5 | 0.91 | 3.5 | 0.53 | 0.56 | 0.42 | 0.72 | 0.45 | 0.68 | 1.2 | 0.37 | 0.58 | 0.35 | 0.44 | 0.61 | 1.2 | 1.1 | 1.1 | 1.1
Colour | ≤15 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | 5 | <4
Calcium | N/A | 5.2 | 5.5 | 6.9 | 6.4 | 6.3 | 5.5 | 6 | 5.9 | 7.1 | 5.8 | 6.6 | 7.2 | 8 | 9.9 | 6.3 | 7.4 | 7.7 | 7.8
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 44 | 56 | 52 | 66 | 60 | 50 | 58 | 50 | 58 | 54 | 62 | 60 | 66 | 68 | 62 | 44 | 70 | 90
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | <1.1 | <1.1 | <1.1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1
Aluminium | ≤300 | <40 | 127 | <40 | 52 | <40 | 42 | 47 | <40 | 184 | 121 | 120 | 64 | 364 | 96 | 254 | 44 | 204 | 246
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Eendekuil - WTW Final
Date
| Range | 2022-07-21 | 2022-08-18 | 2022-09-15 | 2022-10-20 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-19 | 2023-02-02 | 2023-03-16
pH | ≤5 - ≤9.7 | 10.54 | 9.1 | 9.43 | 8.39 | 7.44 | 7.54 | 7.6 | 9.48 | 9.24 | 9.18
Conductivity | ≤170 | 9.1 | 9.6 | 8.6 | 7 | 8.8 | 8.5 | 10 | 10 | 10.4 | 13.5
Turbidity | ≤5 | 2.3 | 0.83 | 0.95 | 0.93 | 1.1 | 2.1 | 0.32 | 0.81 | 2.7 | 2.6
Colour | ≤15 | bar: 2022-07-21 to 2023-03-16
Calcium | N/A | 6.3 | 6.7 | 6.4 | 5.2 | 6.3 | 7.2 | 7.6 | 10 | 7.3 | 7.4
Chloride | ≤300 | bar: 2022-07-21 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-21 to 2023-03-16
Dissolved solids | ≤1200 | 60 | 62 | 50 | 48 | 56 | 58 | 64 | 70 | 64 | 90
Iron | N/A | bar: 2022-07-21 to 2023-03-16
Magnesium | N/A | <1.1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1
Aluminium | ≤300 | 69 | 59 | 48 | 80 | 1165 | 409 | 76 | 65 | 1075 | 134
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## PB
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Piketberg - Community Centre
Date
| Range | 2022-07-07 | 2022-07-21 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-15 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-06 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-03 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.59 | 7.9 | 8.39 | 8.42 | 8.36 | 8.2 | 7.74 | 7.94 | 7.43 | 7.04 | 7.46 | 7.37 | 7.6 | 7.75 | 7.47 | 7.4 | 7.55 | 8.09
Conductivity | ≤170 | 45.3 | 37.5 | 39.1 | 48.3 | 50.6 | 37.7 | 47.2 | 51 | 48.6 | 49.8 | 38 | 35.5 | 46.3 | 52.7 | 44.4 | 34.8 | 32.1 | 26.5
Turbidity | ≤5 | 30.4 | 0.94 | 0.56 | 0.7 | 2.7 | 1.2 | 0.35 | 0.78 | 0.85 | 0.41 | 0.85 | 0.53 | 0.27 | 0.78 | 0.18 | 0.19 | 0.32 | 0.85
Colour | ≤15 | 10 | <4 | <4 | <4 | 11 | <4 | <4 | 5 | <4 | <4 | <4 | <4 | <4 | 5 | <4 | <4 | <4 | <4
Calcium | N/A | 11.3 | 9.6 | 10.7 | 13.6 | 12.2 | 14.9 | 10.9 | 10.1 | 13.8 | 14.9 | 12 | 10.5 | 11.9 | 16.4 | 12.4 | 11.2 | 10.3 | 5
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 300 | 240 | 250 | 310 | 318 | 250 | 320 | 338 | 316 | 318 | 248 | 242 | 315 | 340 | 300 | 230 | 202 | 168
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | 8.6 | 7.7 | 7.1 | 10.3 | 9.3 | 6.9 | 6.1 | 9.4 | 10 | 11.4 | 12 | 7 | 10.4 | 15.3 | 12.4 | 7.8 | 6.1 | 3
Aluminium | ≤300 | 276 | <40 | <40 | <40 | 41 | 60 | <40 | 61 | <40 | <40 | <40 | <40 | <40 | <40 | 53 | 7.8 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - WTW Final
Date
| Range | 2022-07-21 | 2022-08-19 | 2022-10-20 | 2022-11-17 | 2022-12-02 | 2023-01-19 | 2023-02-02 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.23 | 8.06 | 7.7 | 7.18 | 7.19 | 7.32 | 7.16 | 7.5
Conductivity | ≤170 | 37.7 | 52.4 | 55 | 47.3 | 37.4 | 49.5 | 41.9 | 26.1
Turbidity | ≤1 | 1 | 1.4 | 1.1 | 0.39 | 1 | 2 | 0.65 | 5.6
Colour | ≤15 | <4 | <4 | 6 | <4 | <4 | <4 | <4 | <4
Calcium | N/A | 8.9 | 13.5 | 11.5 | 12.9 | 11.6 | 15.1 | 10.1 | 4.6
Chloride | ≤300 | bar: 2022-07-21 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-21 to 2023-03-16
Dissolved solids | ≤1200 | 240 | 336 | 360 | 308 | 240 | 324 | 284 | 170
Iron | N/A | bar: 2022-07-21 to 2023-03-16
Magnesium | N/A | 7.5 | 11.3 | 9.3 | 11.4 | 12.2 | 15 | 9 | 2.8
Aluminium | ≤300 | <40 | 66 | 66 | <40 | 67 | <40 | 67 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - Elektriesstoor
Date
| Range | 2022-07-07 | 2022-07-21 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-15 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-12 | 2023-01-06 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-03 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.38 | 7.59 | 8.18 | 8.17 | 8.25 | 8.2 | 7.69 | 7.86 | 7.43 | 7.07 | 7.63 | 7.36 | 7.14 | 7.99 | 7.24 | 7.18 | 7.4 | 8.18
Conductivity | ≤170 | 51 | 37.4 | 37.5 | 50.6 | 51.4 | 36.1 | 48.3 | 56 | 48.2 | 48.2 | 44.8 | 36 | 38.9 | 50.3 | 42.3 | 35.2 | 29.7 | 28.7
Turbidity | ≤5 | 1.8 | 1.7 | 1.4 | 0.5 | 1.9 | 0.68 | 0.48 | 0.79 | 0.71 | 0.38 | 0.21 | 0.52 | 0.24 | 0.53 | 0.91 | 0.29 | 0.3 | 0.6
Colour | ≤15 | 9 | <4 | 13.2 | 4 | 6 | <4 | <4 | 6 | <4 | <4 | <4 | <4 | <4 | 4 | <4 | <4 | <4 | <4
Calcium | N/A | 15.3 | 13.3 | 13.2 | 19.9 | 16.6 | 9.1 | 13.9 | 11.7 | 15.8 | 15.5 | 18.3 | 14.4 | 12 | 17.4 | 10.7 | 11.4 | 10.3 | 6.6
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 330 | 242 | 240 | 332 | 330 | 246 | 318 | 380 | 314 | 314 | 290 | 240 | 267 | 328 | 288 | 236 | 200 | 180
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | 9.4 | 7.1 | 6.7 | 10.1 | 9.5 | 6.8 | 5.5 | 9.6 | 12 | 13.8 | 12.3 | 7 | 4.2 | 14.5 | 8.9 | 7.3 | 4.8 | 2.8
Aluminium | ≤300 | 44 | 43 | <40 | <40 | 51 | <40 | <40 | 155 | 58 | <40 | 219 | <40 | <40 | <40 | 79 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Piketberg - Municipal offices
Date
| Range | 2022-07-07 | 2022-07-22 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-15 | 2022-10-06 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-12 | 2023-01-06 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-03 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.32 | 7.32 | 8.17 | 8.09 | 8.2 | 8.08 | 7.65 | 7.42 | 7.13 | 7.82 | 7.39 | 7.57 | 7.64 | 7.41 | 7.14 | 7.18 | 7.73
Conductivity | ≤170 | 50.2 | 35.2 | 38.4 | 50.7 | 53.2 | 37.4 | 48 | 49.2 | 49.6 | 43.4 | 35.5 | 47.2 | 49 | 42.6 | 34.7 | 30 | 26.5
Turbidity | ≤5 | 1.5 | 0.71 | 0.84 | 0.55 | 4.3 | 1.9 | 0.73 | 0.39 | 0.4 | 0.24 | 0.58 | 0.28 | 0.5 | 0.76 | 0.28 | 0.27 | 0.55
Colour | ≤15 | 8 | <4 | <4 | <4 | 8 | <4 | <4 | 5 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4
Calcium | N/A | 15.8 | 11.1 | 11 | 19.4 | 14.1 | 14.9 | 14 | 15 | 15.4 | 18.5 | 13 | 12.4 | 16.9 | 12.3 | 10.9 | 9.8 | 6.3
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 332 | 230 | 244 | 330 | 340 | 252 | 318 | 318 | 322 | 286 | 238 | 317 | 322 | 282 | 228 | 198 | 168
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | 10.4 | 7.3 | 7.2 | 10.2 | 9.9 | 6.7 | 9 | 11.9 | 14.2 | 12.4 | 6.9 | 3.9 | 14.6 | 8.9 | 7.2 | 4.7 | 2.8
Aluminium | ≤300 | 67 | <40 | <40 | <40 | 102 | 86 | 45 | <40 | <40 | 206 | <40 | <40 | <40 | 49 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## AU
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Aurora - Municipal office
Date
| Range | 2022-07-07 | 2022-07-21 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-15 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-05 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-02 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.21 | 6.6 | 7.43 | 6.79 | 7.13 | 8.67 | 7.11 | 7.56 | 7.22 | 6.91 | 6.89 | 6.53 | 7.03 | 7.24 | 6.95 | 7.29 | 6.56 | 7.58
Conductivity | ≤170 | 134 | 136 | 139 | 141 | 151 | 150 | 144 | 152 | 126 | 143 | 146 | 137 | 135 | 149 | 128 | 139 | 144 | 160
Turbidity | ≤5 | 0.52 | 0.4 | 0.45 | 0.45 | 0.28 | 0.26 | 0.27 | 0.23 | 0.41 | 0.53 | 0.49 | 2.2 | 0.94 | 0.49 | 0.6 | 0.3 | 0.44 | 0.54
Colour | ≤15 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | 10 | <4 | <4 | <4
Calcium | N/A | 18.4 | 16.9 | 19.8 | 19.2 | 19.1 | 20 | 17.3 | 16.5 | 16.5 | 19.5 | 22.5 | 23.1 | 17.9 | 22.6 | 17.6 | 20.6 | 17 | 14.4
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 880 | 902 | 922 | 932 | 980 | 998 | 962 | 1000 | 828 | 938 | 978 | 900 | 922 | 996 | 822 | 922 | 942 | 1044
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | 28.1 | 34.3 | 42.9 | 38.9 | 38.1 | 40.9 | 23.7 | 39 | 39 | 47 | 50.4 | 37.8 | 14.1 | 46.8 | 39.3 | 43.4 | 41.1 | 30.9
Aluminium | ≤300 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | 51 | 46 | <40 | <40 | <40 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Aurora - WTW Final
Date
| Range | 2022-07-21 | 2022-08-18 | 2022-09-15 | 2022-10-20 | 2022-11-17 | 2022-12-13 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-16
pH | ≤5 - ≤9.7 | 6.27 | 6.73 | 7.96 | 7.42 | 6.85 | 6.47 | 6.62 | 6.3 | 6.43 | 6.68
Conductivity | ≤170 | 136 | 138 | 148 | 153 | 142 | 136 | 149 | 130 | 140 | 158
Turbidity | ≤5 | 0.4 | 0.53 | 1.2 | 0.21 | 0.85 | 0.38 | 0.36 | 0.5 | 1.4 | 1
Colour | ≤15 | <4 | <4 | <4 | <4 | <4 | 5 | <4 | <4 | <4 | <4
Calcium | N/A | 13.5 | 16.4 | 15.5 | 13.1 | 14.7 | 18.1 | 19.9 | 14.1 | <1 | 11.3
Chloride | ≤300 | bar: 2022-07-21 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-21 to 2023-03-16
Dissolved solids | ≤1200 | 904 | 926 | 990 | 1004 | 936 | 900 | 998 | 868 | 924 | 1050
Iron | N/A | bar: 2022-07-21 to 2023-03-16
Magnesium | N/A | 34.1 | 39 | 34 | 38.8 | 47 | 37.6 | 46.9 | 39.4 | <1 | 30.2
Aluminium | ≤300 | <40 | <40 | <40 | <40 | <40 | <40 | <40 | 67 | <40 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## VD
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Velddrif - Civic centre
Date
| Range | 2022-07-07 | 2022-07-22 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-15 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-05 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-02 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.6 | 7.6 | 8.38 | 8.04 | 8.65 | 8.11 | 7.77 | 8.07 | 7.83 | 7.04 | 7.76 | 7.68 | 6.91 | 6.91 | 6.77 | 7.12 | 7.64 | 7.36
Conductivity | ≤170 | 37.6 | 53.1 | 43 | 49 | 62.6 | 58.4 | 44.6 | 57 | 46.8 | 52.6 | 45.7 | 38 | 41.6 | 51 | 46.4 | 38.8 | 29.7 | 31.9
Turbidity | ≤5 | 0.64 | 0.66 | 1.1 | 0.6 | 0.35 | 0.47 | 0.74 | 0.5 | 0.38 | 0.68 | 0.25 | 0.37 | 0.4 | 0.29 | 0.35 | 0.22 | 0.28 | 0.45
Colour | ≤15 | <4 | <4 | <4 | <4 | 6 | 5 | 4 | <4 | 5 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | 10
Calcium | N/A | 14.6 | 19.2 | 14.2 | 23.4 | 24.1 | 21.2 | 13.2 | 16.4 | 17.3 | 18.5 | 20.2 | 17.9 | 19.4 | 20.6 | 17.1 | 17.9 | 11.3 | 11.6
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 238 | 348 | 280 | 320 | 408 | 380 | 302 | 380 | 308 | 340 | 300 | 246 | 282 | 342 | 310 | 250 | 190 | 200
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | 6.9 | 9.9 | 7.1 | 8.2 | 10.4 | 10 | 5 | 8.6 | 9.2 | 10.9 | 11.5 | 7.2 | 7.7 | 11.6 | 8.5 | 7.7 | 4.4 | 4.7
Aluminium | ≤300 | <40 | <40 | <40 | <40 | 66 | 45 | 135 | 76 | <40 | 49 | 86 | 62 | 55 | 60 | 74 | 79 | 54 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Velddrif - Municipal Office
Date
| Range | 2022-07-07 | 2022-07-22 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-15 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-05 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-02 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.98 | 7.02 | 8.55 | 8.06 | 8.76 | 8.16 | 7.79 | 8.1 | 7.86 | 7.11 | 7.75 | 7.7 | 7.86 | 8.31 | 8.01 | 8.14 | 8.42 | 8.85
Conductivity | ≤170 | 37.6 | 52.8 | 49 | 47.9 | 63.9 | 60.2 | 46.7 | 57 | 46.5 | 52.9 | 44 | 39 | 41.3 | 51.9 | 49.9 | 42 | 30.6 | 33.4
Turbidity | ≤5 | 2.2 | 1 | 0.82 | 0.37 | 0.31 | 0.3 | 0.29 | 0.22 | 0.6 | 0.35 | 0.64 | 0.25 | 0.31 | 0.27 | 0.28 | 0.38 | 0.26 | 0.3
Colour | ≤15 | <4 | <4 | <4 | <4 | 8 | <4 | <4 | 5 | <4 | <4 | 8 | <4 | 6 | 5 | <4 | 5 | <4 | <4
Calcium | N/A | 15.9 | 19.6 | 19 | 20.4 | 24.5 | 22 | 14.7 | 17.4 | 18.2 | 17.9 | 17.8 | 18.5 | 20.3 | 21.7 | 18.6 | 20.1 | 12.9 | 14.6
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 246 | 342 | 322 | 316 | 410 | 388 | 310 | 382 | 306 | 344 | 296 | 258 | 276 | 338 | 328 | 262 | 202 | 212
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | 6.8 | 9.7 | 7.7 | 8.4 | 10.4 | 10.1 | 4.9 | 8.6 | 9.6 | 13.8 | 9.6 | 7 | 2.9 | 12 | 8.6 | 8.3 | 3.9 | 4.8
Aluminium | ≤300 | 44 | <40 | <40 | 41 | <40 | <40 | 81 | 48 | 57 | <40 | 72 | 59 | 60 | 69 | 102 | 73 | 63 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Velddrif - WTW Final/Reservoir
Date
| Range | 2022-07-07 | 2022-07-07 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-15 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-05 | 2023-01-19 | 2023-02-02 | 2023-03-02 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.22 | 7 | 8.31 | 8.07 | 8.5 | 8.18 | 6.86 | 8.11 | 7.74 | 6.63 | 7.79 | 7.68 | 6.97 | 7.22 | 6.96 | 7.14 | 7.43
Conductivity | ≤170 | 38.2 | 56.1 | 50.3 | 49.1 | 62.3 | 57.7 | 46.5 | 57 | 48 | 53.6 | 39.5 | 37.5 | 43 | 50.3 | 48.6 | 28.9 | 29
Turbidity | ≤5 | 0.79 | 0.61 | 4 | 0.45 | 0.45 | 0.46 | 0.26 | 0.51 | 1 | 0.26 | 0.7 | 0.44 | 0.5 | 0.31 | 0.56 | 0.31 | 0.59
Colour | ≤15 | 9 | <4 | <4 | <4 | 6 | 5 | 4 | <4 | <4 | <4 | <4 | <4 | <4 | 6 | 4 | <4 | <4
Calcium | N/A | 16.9 | 18.1 | 19.1 | 20.5 | 23.4 | 20.3 | 13.2 | 16 | 18.4 | 19.1 | 15.7 | 16.6 | 18.5 | 20.5 | 16.6 | 10.6 | 10.5
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-02
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-02
Dissolved solids | ≤1200 | 242 | 372 | 328 | 322 | 406 | 374 | 300 | 380 | 310 | 340 | 260 | 240 | 285 | 330 | 320 | 182 | 190
Iron | N/A | bar: 2022-07-07 to 2023-03-02
Magnesium | N/A | 7.1 | 9.7 | 7.9 | 8.6 | 9.8 | 10.1 | 5.1 | 8.7 | 10.6 | 5.6 | 8.6 | 6.2 | 8 | 11.8 | 8.4 | 4.1 | 4.2
Aluminium | ≤300 | <40 | <40 | <40 | 41 | <40 | 47 | 91 | 59 | 63 | 48 | 112 | 48 | 73 | 61 | 99 | 58 | 51
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## PV
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Porterville - Municipal office
Date
| Range | 2022-07-07 | 2022-07-21 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-16 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-05 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-03 | 2023-03-16
pH | ≤5 - ≤9.7 | 9.87 | 10.19 | 9.06 | 9.76 | 9.73 | 9.97 | 8.3 | 8.71 | 8.01 | 7.35 | 8.18 | 7.66 | 6.5 | 7.37 | 9.01 | 9.02 | 9.82 | 9.77
Conductivity | ≤170 | 6.9 | 9 | 8.1 | 8.9 | 9.5 | 9.2 | 8.2 | 10.5 | 8.5 | 8 | 7.8 | 8.5 | 6.1 | 6.2 | 9.3 | 6.9 | 12 | 12
Turbidity | ≤5 | 0.82 | 0.62 | 0.89 | 0.85 | 0.91 | 0.85 | 0.94 | 0.7 | 1.2 | 1.1 | 0.81 | 1.2 | 0.57 | 0.91 | 0.66 | 0.51 | 0.59 | 0.6
Colour | ≤15 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | 4 | <4 | <4 | <4 | 8 | <4 | <4 | <4 | 6 | <4 | <4
Calcium | N/A | 9.2 | 9.2 | 10.8 | 9.5 | 9.9 | 10.3 | 7.9 | 8.4 | 9 | 6.7 | 8.5 | 8.4 | 4.6 | 8.6 | 8.3 | 8.8 | 12.7 | 8.5
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 48 | 58 | 50 | 56 | 60 | 58 | 56 | 66 | 56 | 50 | 50 | 58 | 43 | 38 | 60 | 42 | 80 | 76
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | <1 | <1.1 | <1.1 | <1 | <1 | <1 | <1 | <1 | 1 | 1.3 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1
Aluminium | ≤300 | <40 | <40 | <40 | 69 | 44 | 55 | 240 | 59 | 56 | <40 | 49 | 40 | 67 | 48 | 103 | 71 | 55 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - Library
Date
| Range | 2022-07-07 | 2022-07-21 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-16 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-05 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-03 | 2023-03-16
pH | ≤5 - ≤9.7 | 9.91 | 10.27 | 8.92 | 9.77 | 9.46 | 9.92 | 8.2 | 8.41 | 7.83 | 7.41 | 8.23 | 7.7 | 8.15 | 7.59 | 8.86 | 7.34 | 9.4 | 9.69
Conductivity | ≤170 | 7.4 | 9.1 | 9.1 | 10.2 | 10.4 | 10 | 8.4 | 11 | 8.7 | 7.8 | 8.7 | 9.5 | 6.7 | 7.2 | 9 | 6.6 | 11 | 11.9
Turbidity | ≤5 | 0.42 | 0.96 | 0.84 | 0.71 | 1.1 | 0.9 | 0.74 | 0.91 | 3.4 | 0.75 | 0.72 | 3.2 | 0.47 | 0.46 | 0.71 | 0.71 | 0.73 | 0.84
Colour | ≤15 | 5 | <4 | 6 | 7 | 6 | 8 | <4 | <4 | <4 | <4 | 25 | 5 | <4 | <4 | <4 | 8 | 4 | <4
Calcium | N/A | 9 | 9.4 | 10.5 | 12 | 11.1 | 11.8 | 7.5 | 9.1 | 8.2 | 6.4 | 10.2 | 10.2 | 6.5 | 8.4 | 8.6 | 7.6 | 11.3 | 9
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 50 | 58 | 60 | 68 | 64 | 68 | 58 | 68 | 58 | 50 | 54 | 58 | 44 | 48 | 62 | 40 | 68 | 70
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | <1 | <1.1 | <1.1 | <1 | <1 | <1 | <1 | <1 | 1.1 | 1.3 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1
Aluminium | ≤300 | 41 | 46 | <40 | 69 | 61 | 64 | 43 | 45 | 74 | <40 | 79 | 53 | <40 | <40 | 100 | 56 | 68 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - WWTW Tap
Date
| Range | 2022-07-07 | 2022-07-21 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-16 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-05 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-03 | 2023-03-16
pH | ≤5 - ≤9.7 | 10.22 | 10.2 | 9.56 | 10 | 10.06 | 10.06 | 8.31 | 8.87 | 8.2 | 7.27 | 8.12 | 8 | 7.75 | 7.68 | 9.2 | 8.21 | 9.06 | 9.95
Conductivity | ≤170 | 7.7 | 9.4 | 9.3 | 10.3 | 11 | 9.8 | 7.7 | 11 | 8.2 | 7.8 | 7.6 | 10.5 | 6.7 | 6.5 | 9.6 | 6.9 | 10.9 | 12.6
Turbidity | ≤5 | 0.7 | 0.55 | 0.57 | 0.48 | 3.5 | 0.54 | 0.48 | 0.42 | 0.45 | 0.47 | 0.42 | 0.77 | 0.41 | 0.44 | 0.54 | 0.45 | 0.48 | 0.6
Colour | ≤15 | 7 | <4 | <4 | 8 | 4 | <4 | 15 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | <4 | 6 | <4 | <4
Calcium | N/A | 10.7 | 9.2 | 9.6 | 12.2 | 12.7 | 11.8 | 7 | 8.9 | 9.2 | 7 | 8.6 | 11.2 | 6 | 9.1 | 8.9 | 9.3 | 11.4 | 9.7
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 52 | 60 | 54 | 68 | 70 | 64 | 52 | 66 | 54 | 48 | 48 | 70 | 48 | 40 | 62 | 44 | 74 | 76
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | <1 | <1.1 | <1.1 | <1 | <1 | <1 | <1 | <1 | <1 | 1.1 | 1.5 | <1 | <1 | <1 | <1 | <1 | <1 | <1
Aluminium | ≤300 | 75 | <40 | <40 | 76 | 137 | 59 | <40 | <40 | 54 | 45 | 55 | 49 | <40 | <40 | 93 | 83 | 69 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected
Area Tested | Porterville - WTW Final
Date
| Range | 2022-07-21 | 2022-08-18 | 2022-09-16 | 2022-10-20 | 2022-11-17 | 2022-12-13 | 2023-01-19 | 2023-02-02 | 2023-03-16
pH | ≤5 - ≤9.7 | 11.29 | 9.37 | 9.75 | 8.71 | 7.34 | 7.67 | 7.28 | 8.6 | 9.38
Conductivity | ≤170 | 16.4 | 7.2 | 8.1 | 10 | 6 | 8 | 6.1 | 8.3 | 10.3
Turbidity | ≤5 | 1.1 | 0.95 | 0.72 | 0.91 | 1.3 | 1.4 | 0.95 | 0.99 | 0.96
Colour | ≤15 | <4 | 9 | <4 | 5 | <4 | <4 | <4 | <4 | <4
Calcium | N/A | 17.2 | 7.8 | 8.4 | 7.2 | 5.5 | 6.7 | 7.6 | 7.1 | 6.5
Chloride | ≤300 | bar: 2022-07-21 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-21 to 2023-03-16
Dissolved solids | ≤1200 | 110 | 48 | 50 | 64 | 42 | 54 | 38 | 56 | 66
Iron | N/A | bar: 2022-07-21 to 2023-03-16
Magnesium | N/A | <1.1 | <1 | <1 | <1 | <1 | <1 | <1 | <1 | <1
Aluminium | ≤300 | 44 | 75 | 54 | 47 | 41 | 73 | 51 | 78 | <40
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected

## DKB
OUR WATER MEETS THE REQUIREMENTS OF SANS 241-1:2015
Area Tested | Dwarskersbos - Reservoir
Date
| Range | 2022-07-07 | 2022-07-21 | 2022-08-04 | 2022-08-18 | 2022-09-01 | 2022-09-15 | 2022-10-06 | 2022-10-20 | 2022-11-03 | 2022-11-17 | 2022-12-01 | 2022-12-13 | 2023-01-05 | 2023-01-19 | 2023-02-02 | 2023-02-16 | 2023-03-02 | 2023-03-16
pH | ≤5 - ≤9.7 | 7.02 | 7.76 | 7.55 | 6.81 | 8.86 | 8.02 | 7.43 | 7.2 | 7.32 | 6.94 | 7.28 | 6.64 | 7.86 | 8.25 | 8.11 | 7.26 | 8.71 | 7.78
Conductivity | ≤170 | 35.4 | 55 | 51.8 | 48.7 | 63.9 | 58.9 | 43.5 | 52.6 | 48 | 51.4 | 43.6 | 36.5 | 40.9 | 52.4 | 48.4 | 37.9 | 32.6 | 31.4
Turbidity | ≤5 | 0.3 | 0.36 | 0.42 | 0.71 | 1.1 | 0.93 | 0.75 | 0.28 | 0.56 | 0.59 | 0.45 | 0.32 | 0.41 | 0.3 | 0.37 | 0.2 | 0.48 | 0.41
Colour | ≤15 | <4 | <4 | <4 | <4 | 4 | 6 | <4 | <4 | <4 | <4 | <4 | 5 | <4 | <4 | <4 | 15 | <4 | <4
Calcium | N/A | 13.8 | 19.9 | 23.7 | 22.6 | 25.6 | 19.4 | 14.8 | 17.1 | 17.9 | 18.5 | 19.3 | 19.9 | 19.3 | 22.4 | 9.1 | 16.5 | 13.8 | 10.5
Chloride | ≤300 | bar: 2022-07-07 to 2023-03-16
Flouride | ≤1.5 | bar: 2022-07-07 to 2023-03-16
Dissolved solids | ≤1200 | 228 | 358 | 330 | 310 | 410 | 396 | 300 | 348 | 308 | 332 | 288 | 244 | 281 | 338 | 322 | 248 | 210 | 200
Iron | N/A | bar: 2022-07-07 to 2023-03-16
Magnesium | N/A | 6.1 | 10.1 | 10.5 | 8.5 | 10.6 | 10.6 | 5.1 | 8.5 | 10.5 | 10.9 | 10.3 | 7.1 | 3.1 | 12.1 | 9.1 | 7.3 | 4.3 | 2.9
Aluminium | ≤300 | <40 | <40 | <40 | <40 | <40 | <40 | 127 | 48 | 52 | 47 | 84 | 53 | 48 | 79 | 75 | 65 | 67 | 44
E.coli | ≤1 | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected | Not Detected